## NRT Series
[NRT4.0]
NRT Number | Probe Active Electrode | Probe Indifferent Electrode | Probe Current Level | Probe Pulse Width | Probe Inter Phase Gap | Probe Rate | Recording Active Electrode | Recording Indifferent Electrode | Gain | Delay | Artefact Cancellation Technique | Artefact Reduction | Nr of Sweeps | Nr of Samples | Resolution | Artefact Rejection Level | Discard first N Recordings | Masker Active Electrode | Masker Indifferent Electrode | Masker Current Level | Masker Pulse Width | Masker Inter Phase Gap | Nr of Maskers | Masker Rate | Masker Probe Interval | Reference MPI | Lock Masker Polarity | Artefact Template Current Level | Scaling Factor | Nr of Sweeps for Artef Templ | Artef Red Current Level | Artef Red Pulse Width | Nr of Averages for MFD | Step Ratio | Targ Offset | Tolerance | Time Out | OK Measurements | Error Determination
1 | 18 | MP1 | 150 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 150 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
2 | 18 | MP1 | 153 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 153 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
3 | 18 | MP1 | 156 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 156 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
4 | 18 | MP1 | 159 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 159 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
5 | 18 | MP1 | 162 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 162 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
6 | 18 | MP1 | 165 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 165 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
7 | 18 | MP1 | 168 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 168 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
8 | 18 | MP1 | 171 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 171 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
9 | 18 | MP1 | 174 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 174 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
10 | 18 | MP1 | 177 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 177 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First
11 | 18 | MP1 | 180 | 25 | 40 | 80 | 20 | MP2 | 50 dB | 98 | Forward Masking | Off | 50 | 32 | x1 | Off | 0 | 18 | MP1 | 180 | 25 | 40 | 1 | 100 | 400 | 400 | Off | 1 | Auto | 500 | 1 | 10 | 10 | 1000 | 0 | Normal | 100 | 4 | Last minus First

## NRT Buffers
Status | NRT Nr | Frame type | Resolution frame | N | Time (µs) | Sample (µV)
| 1 | A | 1 | 1 | 188 | 78.2103
| 1 | A | 1 | 2 | 236.8 | -76.8444
| 1 | A | 1 | 3 | 285.6 | -143.101
| 1 | A | 1 | 4 | 334.4 | -191.257
| 1 | A | 1 | 5 | 383.2 | -218.238
| 1 | A | 1 | 6 | 432 | -227.801
| 1 | A | 1 | 7 | 480.8 | -240.096
| 1 | A | 1 | 8 | 529.6 | -244.536
| 1 | A | 1 | 9 | 578.4 | -249.659
| 1 | A | 1 | 10 | 627.2 | -254.782
| 1 | A | 1 | 11 | 676 | -262.637
| 1 | A | 1 | 12 | 724.8 | -268.101
| 1 | A | 1 | 13 | 773.6 | -269.809
| 1 | A | 1 | 14 | 822.4 | -276.981
| 1 | A | 1 | 15 | 871.2 | -283.812
| 1 | A | 1 | 16 | 920 | -284.153
| 1 | A | 1 | 17 | 968.8 | -289.959
| 1 | A | 1 | 18 | 1017.6 | -293.033
| 1 | A | 1 | 19 | 1066.4 | -297.131
| 1 | A | 1 | 20 | 1115.2 | -298.839
| 1 | A | 1 | 21 | 1164 | -300.205
| 1 | A | 1 | 22 | 1212.8 | -304.986
| 1 | A | 1 | 23 | 1261.6 | -308.06
| 1 | A | 1 | 24 | 1310.4 | -308.06
| 1 | A | 1 | 25 | 1359.2 | -312.159
| 1 | A | 1 | 26 | 1408 | -313.866
| 1 | A | 1 | 27 | 1456.8 | -314.549
| 1 | A | 1 | 28 | 1505.6 | -316.94
| 1 | A | 1 | 29 | 1554.4 | -320.697
| 1 | A | 1 | 30 | 1603.2 | -318.989
| 1 | A | 1 | 31 | 1652 | -322.746
| 1 | A | 1 | 32 | 1700.8 | -326.161
| 1 | B | 1 | 1 | 188 | 78.8933
| 1 | B | 1 | 2 | 236.8 | -74.7952
| 1 | B | 1 | 3 | 285.6 | -141.394
| 1 | B | 1 | 4 | 334.4 | -189.549
| 1 | B | 1 | 5 | 383.2 | -217.213
| 1 | B | 1 | 6 | 432 | -228.484
| 1 | B | 1 | 7 | 480.8 | -243.853
| 1 | B | 1 | 8 | 529.6 | -253.757
| 1 | B | 1 | 9 | 578.4 | -256.489
| 1 | B | 1 | 10 | 627.2 | -263.661
| 1 | B | 1 | 11 | 676 | -270.833
| 1 | B | 1 | 12 | 724.8 | -273.907
| 1 | B | 1 | 13 | 773.6 | -279.713
| 1 | B | 1 | 14 | 822.4 | -284.495
| 1 | B | 1 | 15 | 871.2 | -290.642
| 1 | B | 1 | 16 | 920 | -293.374
| 1 | B | 1 | 17 | 968.8 | -298.156
| 1 | B | 1 | 18 | 1017.6 | -300.547
| 1 | B | 1 | 19 | 1066.4 | -301.913
| 1 | B | 1 | 20 | 1115.2 | -306.011
| 1 | B | 1 | 21 | 1164 | -309.768
| 1 | B | 1 | 22 | 1212.8 | -308.402
| 1 | B | 1 | 23 | 1261.6 | -312.5
| 1 | B | 1 | 24 | 1310.4 | -316.94
| 1 | B | 1 | 25 | 1359.2 | -316.598
| 1 | B | 1 | 26 | 1408 | -318.648
| 1 | B | 1 | 27 | 1456.8 | -319.672
| 1 | B | 1 | 28 | 1505.6 | -320.355
| 1 | B | 1 | 29 | 1554.4 | -325.137
| 1 | B | 1 | 30 | 1603.2 | -326.503
| 1 | B | 1 | 31 | 1652 | -328.21
| 1 | B | 1 | 32 | 1700.8 | -328.552
| 1 | C | 1 | 1 | 188 | 140.71
| 1 | C | 1 | 2 | 236.8 | 143.784
| 1 | C | 1 | 3 | 285.6 | 152.664
| 1 | C | 1 | 4 | 334.4 | 151.639
| 1 | C | 1 | 5 | 383.2 | 150.956
| 1 | C | 1 | 6 | 432 | 154.713
| 1 | C | 1 | 7 | 480.8 | 155.055
| 1 | C | 1 | 8 | 529.6 | 153.688
| 1 | C | 1 | 9 | 578.4 | 155.396
| 1 | C | 1 | 10 | 627.2 | 158.811
| 1 | C | 1 | 11 | 676 | 157.787
| 1 | C | 1 | 12 | 724.8 | 156.762
| 1 | C | 1 | 13 | 773.6 | 162.227
| 1 | C | 1 | 14 | 822.4 | 157.104
| 1 | C | 1 | 15 | 871.2 | 161.202
| 1 | C | 1 | 16 | 920 | 160.519
| 1 | C | 1 | 17 | 968.8 | 161.202
| 1 | C | 1 | 18 | 1017.6 | 163.251
| 1 | C | 1 | 19 | 1066.4 | 162.227
| 1 | C | 1 | 20 | 1115.2 | 163.251
| 1 | C | 1 | 21 | 1164 | 160.861
| 1 | C | 1 | 22 | 1212.8 | 162.91
| 1 | C | 1 | 23 | 1261.6 | 161.885
| 1 | C | 1 | 24 | 1310.4 | 161.885
| 1 | C | 1 | 25 | 1359.2 | 161.544
| 1 | C | 1 | 26 | 1408 | 162.568
| 1 | C | 1 | 27 | 1456.8 | 162.91
| 1 | C | 1 | 28 | 1505.6 | 160.519
| 1 | C | 1 | 29 | 1554.4 | 162.91
| 1 | C | 1 | 30 | 1603.2 | 164.617
| 1 | C | 1 | 31 | 1652 | 163.593
| 1 | C | 1 | 32 | 1700.8 | 164.276
| 1 | D | 1 | 1 | 188 | 143.101
| 1 | D | 1 | 2 | 236.8 | 147.199
| 1 | D | 1 | 3 | 285.6 | 160.519
| 1 | D | 1 | 4 | 334.4 | 160.177
| 1 | D | 1 | 5 | 383.2 | 158.811
| 1 | D | 1 | 6 | 432 | 167.691
| 1 | D | 1 | 7 | 480.8 | 167.008
| 1 | D | 1 | 8 | 529.6 | 166.325
| 1 | D | 1 | 9 | 578.4 | 169.057
| 1 | D | 1 | 10 | 627.2 | 172.814
| 1 | D | 1 | 11 | 676 | 171.448
| 1 | D | 1 | 12 | 724.8 | 172.473
| 1 | D | 1 | 13 | 773.6 | 172.814
| 1 | D | 1 | 14 | 822.4 | 174.18
| 1 | D | 1 | 15 | 871.2 | 175.546
| 1 | D | 1 | 16 | 920 | 175.888
| 1 | D | 1 | 17 | 968.8 | 174.863
| 1 | D | 1 | 18 | 1017.6 | 176.912
| 1 | D | 1 | 19 | 1066.4 | 179.645
| 1 | D | 1 | 20 | 1115.2 | 178.62
| 1 | D | 1 | 21 | 1164 | 179.303
| 1 | D | 1 | 22 | 1212.8 | 177.596
| 1 | D | 1 | 23 | 1261.6 | 177.254
| 1 | D | 1 | 24 | 1310.4 | 179.303
| 1 | D | 1 | 25 | 1359.2 | 181.694
| 1 | D | 1 | 26 | 1408 | 182.035
| 1 | D | 1 | 27 | 1456.8 | 180.669
| 1 | D | 1 | 28 | 1505.6 | 181.011
| 1 | D | 1 | 29 | 1554.4 | 180.669
| 1 | D | 1 | 30 | 1603.2 | 179.303
| 1 | D | 1 | 31 | 1652 | 177.254
| 1 | D | 1 | 32 | 1700.8 | 180.669
| 2 | A | 1 | 1 | 188 | 67.9644
| 2 | A | 1 | 2 | 236.8 | -95.97
| 2 | A | 1 | 3 | 285.6 | -175.205
| 2 | A | 1 | 4 | 334.4 | -224.385
| 2 | A | 1 | 5 | 383.2 | -247.951
| 2 | A | 1 | 6 | 432 | -261.954
| 2 | A | 1 | 7 | 480.8 | -272.541
| 2 | A | 1 | 8 | 529.6 | -278.347
| 2 | A | 1 | 9 | 578.4 | -278.689
| 2 | A | 1 | 10 | 627.2 | -283.812
| 2 | A | 1 | 11 | 676 | -289.618
| 2 | A | 1 | 12 | 724.8 | -294.399
| 2 | A | 1 | 13 | 773.6 | -301.913
| 2 | A | 1 | 14 | 822.4 | -305.669
| 2 | A | 1 | 15 | 871.2 | -311.134
| 2 | A | 1 | 16 | 920 | -313.866
| 2 | A | 1 | 17 | 968.8 | -318.648
| 2 | A | 1 | 18 | 1017.6 | -322.063
| 2 | A | 1 | 19 | 1066.4 | -324.795
| 2 | A | 1 | 20 | 1115.2 | -325.82
| 2 | A | 1 | 21 | 1164 | -328.21
| 2 | A | 1 | 22 | 1212.8 | -333.675
| 2 | A | 1 | 23 | 1261.6 | -332.992
| 2 | A | 1 | 24 | 1310.4 | -336.066
| 2 | A | 1 | 25 | 1359.2 | -337.432
| 2 | A | 1 | 26 | 1408 | -341.189
| 2 | A | 1 | 27 | 1456.8 | -341.872
| 2 | A | 1 | 28 | 1505.6 | -339.139
| 2 | A | 1 | 29 | 1554.4 | -343.238
| 2 | A | 1 | 30 | 1603.2 | -345.629
| 2 | A | 1 | 31 | 1652 | -343.579
| 2 | A | 1 | 32 | 1700.8 | -349.044
| 2 | B | 1 | 1 | 188 | 73.4289
| 2 | B | 1 | 2 | 236.8 | -87.4318
| 2 | B | 1 | 3 | 285.6 | -161.885
| 2 | B | 1 | 4 | 334.4 | -214.139
| 2 | B | 1 | 5 | 383.2 | -239.071
| 2 | B | 1 | 6 | 432 | -257.514
| 2 | B | 1 | 7 | 480.8 | -272.2
| 2 | B | 1 | 8 | 529.6 | -277.664
| 2 | B | 1 | 9 | 578.4 | -286.202
| 2 | B | 1 | 10 | 627.2 | -293.716
| 2 | B | 1 | 11 | 676 | -298.156
| 2 | B | 1 | 12 | 724.8 | -303.962
| 2 | B | 1 | 13 | 773.6 | -310.451
| 2 | B | 1 | 14 | 822.4 | -314.208
| 2 | B | 1 | 15 | 871.2 | -320.697
| 2 | B | 1 | 16 | 920 | -324.112
| 2 | B | 1 | 17 | 968.8 | -326.503
| 2 | B | 1 | 18 | 1017.6 | -328.552
| 2 | B | 1 | 19 | 1066.4 | -331.284
| 2 | B | 1 | 20 | 1115.2 | -334.7
| 2 | B | 1 | 21 | 1164 | -339.481
| 2 | B | 1 | 22 | 1212.8 | -339.822
| 2 | B | 1 | 23 | 1261.6 | -343.579
| 2 | B | 1 | 24 | 1310.4 | -346.312
| 2 | B | 1 | 25 | 1359.2 | -349.385
| 2 | B | 1 | 26 | 1408 | -348.702
| 2 | B | 1 | 27 | 1456.8 | -352.459
| 2 | B | 1 | 28 | 1505.6 | -353.142
| 2 | B | 1 | 29 | 1554.4 | -353.484
| 2 | B | 1 | 30 | 1603.2 | -355.874
| 2 | B | 1 | 31 | 1652 | -356.899
| 2 | B | 1 | 32 | 1700.8 | -360.997
| 2 | C | 1 | 1 | 188 | 141.393
| 2 | C | 1 | 2 | 236.8 | 152.322
| 2 | C | 1 | 3 | 285.6 | 156.079
| 2 | C | 1 | 4 | 334.4 | 155.055
| 2 | C | 1 | 5 | 383.2 | 156.762
| 2 | C | 1 | 6 | 432 | 160.861
| 2 | C | 1 | 7 | 480.8 | 160.177
| 2 | C | 1 | 8 | 529.6 | 159.836
| 2 | C | 1 | 9 | 578.4 | 163.934
| 2 | C | 1 | 10 | 627.2 | 162.568
| 2 | C | 1 | 11 | 676 | 162.568
| 2 | C | 1 | 12 | 724.8 | 162.227
| 2 | C | 1 | 13 | 773.6 | 167.35
| 2 | C | 1 | 14 | 822.4 | 164.276
| 2 | C | 1 | 15 | 871.2 | 165.3
| 2 | C | 1 | 16 | 920 | 169.74
| 2 | C | 1 | 17 | 968.8 | 165.642
| 2 | C | 1 | 18 | 1017.6 | 165.3
| 2 | C | 1 | 19 | 1066.4 | 168.374
| 2 | C | 1 | 20 | 1115.2 | 167.691
| 2 | C | 1 | 21 | 1164 | 165.642
| 2 | C | 1 | 22 | 1212.8 | 165.642
| 2 | C | 1 | 23 | 1261.6 | 167.691
| 2 | C | 1 | 24 | 1310.4 | 165.984
| 2 | C | 1 | 25 | 1359.2 | 166.667
| 2 | C | 1 | 26 | 1408 | 168.033
| 2 | C | 1 | 27 | 1456.8 | 166.325
| 2 | C | 1 | 28 | 1505.6 | 165.642
| 2 | C | 1 | 29 | 1554.4 | 166.325
| 2 | C | 1 | 30 | 1603.2 | 165.984
| 2 | C | 1 | 31 | 1652 | 167.008
| 2 | C | 1 | 32 | 1700.8 | 163.934
| 2 | D | 1 | 1 | 188 | 139.686
| 2 | D | 1 | 2 | 236.8 | 150.273
| 2 | D | 1 | 3 | 285.6 | 156.421
| 2 | D | 1 | 4 | 334.4 | 153.347
| 2 | D | 1 | 5 | 383.2 | 159.836
| 2 | D | 1 | 6 | 432 | 161.885
| 2 | D | 1 | 7 | 480.8 | 163.251
| 2 | D | 1 | 8 | 529.6 | 164.959
| 2 | D | 1 | 9 | 578.4 | 167.35
| 2 | D | 1 | 10 | 627.2 | 168.374
| 2 | D | 1 | 11 | 676 | 169.057
| 2 | D | 1 | 12 | 724.8 | 172.814
| 2 | D | 1 | 13 | 773.6 | 171.448
| 2 | D | 1 | 14 | 822.4 | 173.497
| 2 | D | 1 | 15 | 871.2 | 175.205
| 2 | D | 1 | 16 | 920 | 172.814
| 2 | D | 1 | 17 | 968.8 | 175.205
| 2 | D | 1 | 18 | 1017.6 | 177.596
| 2 | D | 1 | 19 | 1066.4 | 177.254
| 2 | D | 1 | 20 | 1115.2 | 178.279
| 2 | D | 1 | 21 | 1164 | 179.986
| 2 | D | 1 | 22 | 1212.8 | 179.303
| 2 | D | 1 | 23 | 1261.6 | 178.62
| 2 | D | 1 | 24 | 1310.4 | 181.011
| 2 | D | 1 | 25 | 1359.2 | 179.986
| 2 | D | 1 | 26 | 1408 | 183.06
| 2 | D | 1 | 27 | 1456.8 | 181.694
| 2 | D | 1 | 28 | 1505.6 | 182.718
| 2 | D | 1 | 29 | 1554.4 | 182.377
| 2 | D | 1 | 30 | 1603.2 | 183.743
| 2 | D | 1 | 31 | 1652 | 182.035
| 2 | D | 1 | 32 | 1700.8 | 183.402
| 3 | A | 1 | 1 | 188 | 64.8906
| 3 | A | 1 | 2 | 236.8 | -117.828
| 3 | A | 1 | 3 | 285.6 | -195.355
| 3 | A | 1 | 4 | 334.4 | -247.951
| 3 | A | 1 | 5 | 383.2 | -279.372
| 3 | A | 1 | 6 | 432 | -294.057
| 3 | A | 1 | 7 | 480.8 | -300.205
| 3 | A | 1 | 8 | 529.6 | -302.596
| 3 | A | 1 | 9 | 578.4 | -308.06
| 3 | A | 1 | 10 | 627.2 | -309.768
| 3 | A | 1 | 11 | 676 | -314.549
| 3 | A | 1 | 12 | 724.8 | -322.063
| 3 | A | 1 | 13 | 773.6 | -330.26
| 3 | A | 1 | 14 | 822.4 | -332.992
| 3 | A | 1 | 15 | 871.2 | -339.139
| 3 | A | 1 | 16 | 920 | -343.921
| 3 | A | 1 | 17 | 968.8 | -347.336
| 3 | A | 1 | 18 | 1017.6 | -351.093
| 3 | A | 1 | 19 | 1066.4 | -355.533
| 3 | A | 1 | 20 | 1115.2 | -357.924
| 3 | A | 1 | 21 | 1164 | -358.607
| 3 | A | 1 | 22 | 1212.8 | -363.73
| 3 | A | 1 | 23 | 1261.6 | -367.828
| 3 | A | 1 | 24 | 1310.4 | -366.803
| 3 | A | 1 | 25 | 1359.2 | -368.853
| 3 | A | 1 | 26 | 1408 | -373.634
| 3 | A | 1 | 27 | 1456.8 | -375
| 3 | A | 1 | 28 | 1505.6 | -376.708
| 3 | A | 1 | 29 | 1554.4 | -376.366
| 3 | A | 1 | 30 | 1603.2 | -380.806
| 3 | A | 1 | 31 | 1652 | -379.44
| 3 | A | 1 | 32 | 1700.8 | -381.489
| 3 | B | 1 | 1 | 188 | 69.3305
| 3 | B | 1 | 2 | 236.8 | -110.314
| 3 | B | 1 | 3 | 285.6 | -185.451
| 3 | B | 1 | 4 | 334.4 | -237.022
| 3 | B | 1 | 5 | 383.2 | -272.883
| 3 | B | 1 | 6 | 432 | -291.667
| 3 | B | 1 | 7 | 480.8 | -301.571
| 3 | B | 1 | 8 | 529.6 | -312.159
| 3 | B | 1 | 9 | 578.4 | -320.697
| 3 | B | 1 | 10 | 627.2 | -323.771
| 3 | B | 1 | 11 | 676 | -330.26
| 3 | B | 1 | 12 | 724.8 | -335.041
| 3 | B | 1 | 13 | 773.6 | -338.456
| 3 | B | 1 | 14 | 822.4 | -341.53
| 3 | B | 1 | 15 | 871.2 | -348.702
| 3 | B | 1 | 16 | 920 | -354.85
| 3 | B | 1 | 17 | 968.8 | -358.265
| 3 | B | 1 | 18 | 1017.6 | -365.437
| 3 | B | 1 | 19 | 1066.4 | -366.803
| 3 | B | 1 | 20 | 1115.2 | -368.169
| 3 | B | 1 | 21 | 1164 | -371.243
| 3 | B | 1 | 22 | 1212.8 | -375.683
| 3 | B | 1 | 23 | 1261.6 | -377.732
| 3 | B | 1 | 24 | 1310.4 | -381.148
| 3 | B | 1 | 25 | 1359.2 | -384.563
| 3 | B | 1 | 26 | 1408 | -385.246
| 3 | B | 1 | 27 | 1456.8 | -389.344
| 3 | B | 1 | 28 | 1505.6 | -391.394
| 3 | B | 1 | 29 | 1554.4 | -387.978
| 3 | B | 1 | 30 | 1603.2 | -390.027
| 3 | B | 1 | 31 | 1652 | -393.443
| 3 | B | 1 | 32 | 1700.8 | -395.492
| 3 | C | 1 | 1 | 188 | 142.076
| 3 | C | 1 | 2 | 236.8 | 142.759
| 3 | C | 1 | 3 | 285.6 | 151.981
| 3 | C | 1 | 4 | 334.4 | 152.664
| 3 | C | 1 | 5 | 383.2 | 150.615
| 3 | C | 1 | 6 | 432 | 154.371
| 3 | C | 1 | 7 | 480.8 | 158.47
| 3 | C | 1 | 8 | 529.6 | 159.494
| 3 | C | 1 | 9 | 578.4 | 160.519
| 3 | C | 1 | 10 | 627.2 | 162.227
| 3 | C | 1 | 11 | 676 | 162.568
| 3 | C | 1 | 12 | 724.8 | 162.568
| 3 | C | 1 | 13 | 773.6 | 159.836
| 3 | C | 1 | 14 | 822.4 | 158.811
| 3 | C | 1 | 15 | 871.2 | 163.251
| 3 | C | 1 | 16 | 920 | 165.3
| 3 | C | 1 | 17 | 968.8 | 163.593
| 3 | C | 1 | 18 | 1017.6 | 165.3
| 3 | C | 1 | 19 | 1066.4 | 165.642
| 3 | C | 1 | 20 | 1115.2 | 166.325
| 3 | C | 1 | 21 | 1164 | 164.959
| 3 | C | 1 | 22 | 1212.8 | 167.691
| 3 | C | 1 | 23 | 1261.6 | 164.617
| 3 | C | 1 | 24 | 1310.4 | 163.251
| 3 | C | 1 | 25 | 1359.2 | 167.008
| 3 | C | 1 | 26 | 1408 | 167.35
| 3 | C | 1 | 27 | 1456.8 | 167.35
| 3 | C | 1 | 28 | 1505.6 | 167.35
| 3 | C | 1 | 29 | 1554.4 | 166.667
| 3 | C | 1 | 30 | 1603.2 | 168.374
| 3 | C | 1 | 31 | 1652 | 168.716
| 3 | C | 1 | 32 | 1700.8 | 166.325
| 3 | D | 1 | 1 | 188 | 141.052
| 3 | D | 1 | 2 | 236.8 | 148.907
| 3 | D | 1 | 3 | 285.6 | 159.153
| 3 | D | 1 | 4 | 334.4 | 161.202
| 3 | D | 1 | 5 | 383.2 | 159.836
| 3 | D | 1 | 6 | 432 | 162.227
| 3 | D | 1 | 7 | 480.8 | 167.35
| 3 | D | 1 | 8 | 529.6 | 168.033
| 3 | D | 1 | 9 | 578.4 | 169.057
| 3 | D | 1 | 10 | 627.2 | 168.716
| 3 | D | 1 | 11 | 676 | 172.814
| 3 | D | 1 | 12 | 724.8 | 174.18
| 3 | D | 1 | 13 | 773.6 | 174.18
| 3 | D | 1 | 14 | 822.4 | 176.912
| 3 | D | 1 | 15 | 871.2 | 175.888
| 3 | D | 1 | 16 | 920 | 177.937
| 3 | D | 1 | 17 | 968.8 | 179.303
| 3 | D | 1 | 18 | 1017.6 | 177.937
| 3 | D | 1 | 19 | 1066.4 | 179.986
| 3 | D | 1 | 20 | 1115.2 | 178.962
| 3 | D | 1 | 21 | 1164 | 179.645
| 3 | D | 1 | 22 | 1212.8 | 180.669
| 3 | D | 1 | 23 | 1261.6 | 184.085
| 3 | D | 1 | 24 | 1310.4 | 182.718
| 3 | D | 1 | 25 | 1359.2 | 179.645
| 3 | D | 1 | 26 | 1408 | 178.962
| 3 | D | 1 | 27 | 1456.8 | 181.011
| 3 | D | 1 | 28 | 1505.6 | 182.718
| 3 | D | 1 | 29 | 1554.4 | 182.035
| 3 | D | 1 | 30 | 1603.2 | 184.085
| 3 | D | 1 | 31 | 1652 | 183.743
| 3 | D | 1 | 32 | 1700.8 | 184.426
| 4 | A | 1 | 1 | 188 | 61.1338
| 4 | A | 1 | 2 | 236.8 | -139.686
| 4 | A | 1 | 3 | 285.6 | -225.068
| 4 | A | 1 | 4 | 334.4 | -283.47
| 4 | A | 1 | 5 | 383.2 | -315.574
| 4 | A | 1 | 6 | 432 | -326.844
| 4 | A | 1 | 7 | 480.8 | -330.26
| 4 | A | 1 | 8 | 529.6 | -336.407
| 4 | A | 1 | 9 | 578.4 | -337.432
| 4 | A | 1 | 10 | 627.2 | -337.432
| 4 | A | 1 | 11 | 676 | -342.213
| 4 | A | 1 | 12 | 724.8 | -349.385
| 4 | A | 1 | 13 | 773.6 | -357.582
| 4 | A | 1 | 14 | 822.4 | -360.997
| 4 | A | 1 | 15 | 871.2 | -366.12
| 4 | A | 1 | 16 | 920 | -375
| 4 | A | 1 | 17 | 968.8 | -376.708
| 4 | A | 1 | 18 | 1017.6 | -380.806
| 4 | A | 1 | 19 | 1066.4 | -383.88
| 4 | A | 1 | 20 | 1115.2 | -391.394
| 4 | A | 1 | 21 | 1164 | -391.735
| 4 | A | 1 | 22 | 1212.8 | -394.126
| 4 | A | 1 | 23 | 1261.6 | -397.2
| 4 | A | 1 | 24 | 1310.4 | -401.298
| 4 | A | 1 | 25 | 1359.2 | -401.639
| 4 | A | 1 | 26 | 1408 | -404.713
| 4 | A | 1 | 27 | 1456.8 | -405.738
| 4 | A | 1 | 28 | 1505.6 | -407.787
| 4 | A | 1 | 29 | 1554.4 | -410.178
| 4 | A | 1 | 30 | 1603.2 | -412.227
| 4 | A | 1 | 31 | 1652 | -411.202
| 4 | A | 1 | 32 | 1700.8 | -413.593
| 4 | B | 1 | 1 | 188 | 64.5491
| 4 | B | 1 | 2 | 236.8 | -125
| 4 | B | 1 | 3 | 285.6 | -207.65
| 4 | B | 1 | 4 | 334.4 | -264.344
| 4 | B | 1 | 5 | 383.2 | -299.522
| 4 | B | 1 | 6 | 432 | -314.891
| 4 | B | 1 | 7 | 480.8 | -329.918
| 4 | B | 1 | 8 | 529.6 | -340.506
| 4 | B | 1 | 9 | 578.4 | -345.629
| 4 | B | 1 | 10 | 627.2 | -350.41
| 4 | B | 1 | 11 | 676 | -354.85
| 4 | B | 1 | 12 | 724.8 | -363.73
| 4 | B | 1 | 13 | 773.6 | -368.853
| 4 | B | 1 | 14 | 822.4 | -372.951
| 4 | B | 1 | 15 | 871.2 | -379.781
| 4 | B | 1 | 16 | 920 | -388.32
| 4 | B | 1 | 17 | 968.8 | -390.369
| 4 | B | 1 | 18 | 1017.6 | -393.784
| 4 | B | 1 | 19 | 1066.4 | -397.541
| 4 | B | 1 | 20 | 1115.2 | -401.981
| 4 | B | 1 | 21 | 1164 | -404.713
| 4 | B | 1 | 22 | 1212.8 | -407.787
| 4 | B | 1 | 23 | 1261.6 | -412.227
| 4 | B | 1 | 24 | 1310.4 | -413.935
| 4 | B | 1 | 25 | 1359.2 | -417.691
| 4 | B | 1 | 26 | 1408 | -420.082
| 4 | B | 1 | 27 | 1456.8 | -421.107
| 4 | B | 1 | 28 | 1505.6 | -422.131
| 4 | B | 1 | 29 | 1554.4 | -427.596
| 4 | B | 1 | 30 | 1603.2 | -429.303
| 4 | B | 1 | 31 | 1652 | -429.645
| 4 | B | 1 | 32 | 1700.8 | -431.011
| 4 | C | 1 | 1 | 188 | 139.686
| 4 | C | 1 | 2 | 236.8 | 142.759
| 4 | C | 1 | 3 | 285.6 | 150.956
| 4 | C | 1 | 4 | 334.4 | 151.639
| 4 | C | 1 | 5 | 383.2 | 149.59
| 4 | C | 1 | 6 | 432 | 155.055
| 4 | C | 1 | 7 | 480.8 | 157.445
| 4 | C | 1 | 8 | 529.6 | 156.421
| 4 | C | 1 | 9 | 578.4 | 159.153
| 4 | C | 1 | 10 | 627.2 | 161.544
| 4 | C | 1 | 11 | 676 | 160.177
| 4 | C | 1 | 12 | 724.8 | 161.202
| 4 | C | 1 | 13 | 773.6 | 163.593
| 4 | C | 1 | 14 | 822.4 | 162.227
| 4 | C | 1 | 15 | 871.2 | 165.3
| 4 | C | 1 | 16 | 920 | 163.593
| 4 | C | 1 | 17 | 968.8 | 165.3
| 4 | C | 1 | 18 | 1017.6 | 164.276
| 4 | C | 1 | 19 | 1066.4 | 166.667
| 4 | C | 1 | 20 | 1115.2 | 166.325
| 4 | C | 1 | 21 | 1164 | 164.276
| 4 | C | 1 | 22 | 1212.8 | 167.008
| 4 | C | 1 | 23 | 1261.6 | 165.642
| 4 | C | 1 | 24 | 1310.4 | 165.3
| 4 | C | 1 | 25 | 1359.2 | 165.3
| 4 | C | 1 | 26 | 1408 | 165.984
| 4 | C | 1 | 27 | 1456.8 | 165.3
| 4 | C | 1 | 28 | 1505.6 | 166.667
| 4 | C | 1 | 29 | 1554.4 | 167.35
| 4 | C | 1 | 30 | 1603.2 | 164.617
| 4 | C | 1 | 31 | 1652 | 165.3
| 4 | C | 1 | 32 | 1700.8 | 165.3
| 4 | D | 1 | 1 | 188 | 142.076
| 4 | D | 1 | 2 | 236.8 | 147.882
| 4 | D | 1 | 3 | 285.6 | 159.836
| 4 | D | 1 | 4 | 334.4 | 158.128
| 4 | D | 1 | 5 | 383.2 | 157.104
| 4 | D | 1 | 6 | 432 | 162.568
| 4 | D | 1 | 7 | 480.8 | 164.959
| 4 | D | 1 | 8 | 529.6 | 166.667
| 4 | D | 1 | 9 | 578.4 | 168.033
| 4 | D | 1 | 10 | 627.2 | 169.057
| 4 | D | 1 | 11 | 676 | 171.106
| 4 | D | 1 | 12 | 724.8 | 171.79
| 4 | D | 1 | 13 | 773.6 | 172.814
| 4 | D | 1 | 14 | 822.4 | 174.18
| 4 | D | 1 | 15 | 871.2 | 173.497
| 4 | D | 1 | 16 | 920 | 174.18
| 4 | D | 1 | 17 | 968.8 | 174.863
| 4 | D | 1 | 18 | 1017.6 | 174.522
| 4 | D | 1 | 19 | 1066.4 | 174.522
| 4 | D | 1 | 20 | 1115.2 | 175.888
| 4 | D | 1 | 21 | 1164 | 174.18
| 4 | D | 1 | 22 | 1212.8 | 174.863
| 4 | D | 1 | 23 | 1261.6 | 177.254
| 4 | D | 1 | 24 | 1310.4 | 176.571
| 4 | D | 1 | 25 | 1359.2 | 178.962
| 4 | D | 1 | 26 | 1408 | 176.571
| 4 | D | 1 | 27 | 1456.8 | 177.254
| 4 | D | 1 | 28 | 1505.6 | 176.229
| 4 | D | 1 | 29 | 1554.4 | 177.596
| 4 | D | 1 | 30 | 1603.2 | 177.937
| 4 | D | 1 | 31 | 1652 | 177.937
| 4 | D | 1 | 32 | 1700.8 | 178.62
| 5 | A | 1 | 1 | 188 | 53.6201
| 5 | A | 1 | 2 | 236.8 | -161.885
| 5 | A | 1 | 3 | 285.6 | -254.098
| 5 | A | 1 | 4 | 334.4 | -318.306
| 5 | A | 1 | 5 | 383.2 | -354.167
| 5 | A | 1 | 6 | 432 | -365.437
| 5 | A | 1 | 7 | 480.8 | -369.536
| 5 | A | 1 | 8 | 529.6 | -371.926
| 5 | A | 1 | 9 | 578.4 | -371.243
| 5 | A | 1 | 10 | 627.2 | -370.902
| 5 | A | 1 | 11 | 676 | -374.317
| 5 | A | 1 | 12 | 724.8 | -381.148
| 5 | A | 1 | 13 | 773.6 | -385.588
| 5 | A | 1 | 14 | 822.4 | -392.76
| 5 | A | 1 | 15 | 871.2 | -400.273
| 5 | A | 1 | 16 | 920 | -403.347
| 5 | A | 1 | 17 | 968.8 | -411.544
| 5 | A | 1 | 18 | 1017.6 | -415.301
| 5 | A | 1 | 19 | 1066.4 | -418.716
| 5 | A | 1 | 20 | 1115.2 | -421.107
| 5 | A | 1 | 21 | 1164 | -425.547
| 5 | A | 1 | 22 | 1212.8 | -429.303
| 5 | A | 1 | 23 | 1261.6 | -431.011
| 5 | A | 1 | 24 | 1310.4 | -433.402
| 5 | A | 1 | 25 | 1359.2 | -438.183
| 5 | A | 1 | 26 | 1408 | -440.232
| 5 | A | 1 | 27 | 1456.8 | -441.598
| 5 | A | 1 | 28 | 1505.6 | -441.257
| 5 | A | 1 | 29 | 1554.4 | -444.331
| 5 | A | 1 | 30 | 1603.2 | -447.063
| 5 | A | 1 | 31 | 1652 | -446.38
| 5 | A | 1 | 32 | 1700.8 | -450.82
| 5 | B | 1 | 1 | 188 | 60.7923
| 5 | B | 1 | 2 | 236.8 | -139.686
| 5 | B | 1 | 3 | 285.6 | -230.874
| 5 | B | 1 | 4 | 334.4 | -284.495
| 5 | B | 1 | 5 | 383.2 | -320.355
| 5 | B | 1 | 6 | 432 | -339.481
| 5 | B | 1 | 7 | 480.8 | -356.216
| 5 | B | 1 | 8 | 529.6 | -364.754
| 5 | B | 1 | 9 | 578.4 | -371.243
| 5 | B | 1 | 10 | 627.2 | -373.975
| 5 | B | 1 | 11 | 676 | -381.489
| 5 | B | 1 | 12 | 724.8 | -386.954
| 5 | B | 1 | 13 | 773.6 | -391.394
| 5 | B | 1 | 14 | 822.4 | -396.858
| 5 | B | 1 | 15 | 871.2 | -401.981
| 5 | B | 1 | 16 | 920 | -408.129
| 5 | B | 1 | 17 | 968.8 | -412.568
| 5 | B | 1 | 18 | 1017.6 | -418.033
| 5 | B | 1 | 19 | 1066.4 | -422.814
| 5 | B | 1 | 20 | 1115.2 | -423.497
| 5 | B | 1 | 21 | 1164 | -428.279
| 5 | B | 1 | 22 | 1212.8 | -431.694
| 5 | B | 1 | 23 | 1261.6 | -433.06
| 5 | B | 1 | 24 | 1310.4 | -435.451
| 5 | B | 1 | 25 | 1359.2 | -437.5
| 5 | B | 1 | 26 | 1408 | -439.549
| 5 | B | 1 | 27 | 1456.8 | -443.306
| 5 | B | 1 | 28 | 1505.6 | -445.014
| 5 | B | 1 | 29 | 1554.4 | -448.771
| 5 | B | 1 | 30 | 1603.2 | -447.746
| 5 | B | 1 | 31 | 1652 | -448.088
| 5 | B | 1 | 32 | 1700.8 | -449.795
| 5 | C | 1 | 1 | 188 | 142.076
| 5 | C | 1 | 2 | 236.8 | 145.15
| 5 | C | 1 | 3 | 285.6 | 152.664
| 5 | C | 1 | 4 | 334.4 | 152.322
| 5 | C | 1 | 5 | 383.2 | 150.956
| 5 | C | 1 | 6 | 432 | 153.347
| 5 | C | 1 | 7 | 480.8 | 158.128
| 5 | C | 1 | 8 | 529.6 | 154.713
| 5 | C | 1 | 9 | 578.4 | 157.445
| 5 | C | 1 | 10 | 627.2 | 160.177
| 5 | C | 1 | 11 | 676 | 157.787
| 5 | C | 1 | 12 | 724.8 | 159.153
| 5 | C | 1 | 13 | 773.6 | 162.568
| 5 | C | 1 | 14 | 822.4 | 161.202
| 5 | C | 1 | 15 | 871.2 | 160.177
| 5 | C | 1 | 16 | 920 | 160.177
| 5 | C | 1 | 17 | 968.8 | 164.617
| 5 | C | 1 | 18 | 1017.6 | 162.227
| 5 | C | 1 | 19 | 1066.4 | 159.494
| 5 | C | 1 | 20 | 1115.2 | 162.227
| 5 | C | 1 | 21 | 1164 | 162.568
| 5 | C | 1 | 22 | 1212.8 | 162.568
| 5 | C | 1 | 23 | 1261.6 | 162.227
| 5 | C | 1 | 24 | 1310.4 | 164.276
| 5 | C | 1 | 25 | 1359.2 | 161.544
| 5 | C | 1 | 26 | 1408 | 161.885
| 5 | C | 1 | 27 | 1456.8 | 162.568
| 5 | C | 1 | 28 | 1505.6 | 164.617
| 5 | C | 1 | 29 | 1554.4 | 163.593
| 5 | C | 1 | 30 | 1603.2 | 163.593
| 5 | C | 1 | 31 | 1652 | 162.91
| 5 | C | 1 | 32 | 1700.8 | 164.959
| 5 | D | 1 | 1 | 188 | 140.027
| 5 | D | 1 | 2 | 236.8 | 145.15
| 5 | D | 1 | 3 | 285.6 | 155.396
| 5 | D | 1 | 4 | 334.4 | 157.445
| 5 | D | 1 | 5 | 383.2 | 156.421
| 5 | D | 1 | 6 | 432 | 159.836
| 5 | D | 1 | 7 | 480.8 | 167.008
| 5 | D | 1 | 8 | 529.6 | 165.642
| 5 | D | 1 | 9 | 578.4 | 165.3
| 5 | D | 1 | 10 | 627.2 | 167.691
| 5 | D | 1 | 11 | 676 | 171.79
| 5 | D | 1 | 12 | 724.8 | 171.448
| 5 | D | 1 | 13 | 773.6 | 172.473
| 5 | D | 1 | 14 | 822.4 | 174.18
| 5 | D | 1 | 15 | 871.2 | 172.814
| 5 | D | 1 | 16 | 920 | 174.18
| 5 | D | 1 | 17 | 968.8 | 173.839
| 5 | D | 1 | 18 | 1017.6 | 176.571
| 5 | D | 1 | 19 | 1066.4 | 175.888
| 5 | D | 1 | 20 | 1115.2 | 176.229
| 5 | D | 1 | 21 | 1164 | 176.571
| 5 | D | 1 | 22 | 1212.8 | 176.571
| 5 | D | 1 | 23 | 1261.6 | 176.571
| 5 | D | 1 | 24 | 1310.4 | 177.254
| 5 | D | 1 | 25 | 1359.2 | 178.62
| 5 | D | 1 | 26 | 1408 | 182.035
| 5 | D | 1 | 27 | 1456.8 | 178.62
| 5 | D | 1 | 28 | 1505.6 | 179.645
| 5 | D | 1 | 29 | 1554.4 | 178.62
| 5 | D | 1 | 30 | 1603.2 | 178.279
| 5 | D | 1 | 31 | 1652 | 179.303
| 5 | D | 1 | 32 | 1700.8 | 179.303
| 6 | A | 1 | 1 | 188 | 47.8141
| 6 | A | 1 | 2 | 236.8 | -182.377
| 6 | A | 1 | 3 | 285.6 | -285.861
| 6 | A | 1 | 4 | 334.4 | -356.899
| 6 | A | 1 | 5 | 383.2 | -395.492
| 6 | A | 1 | 6 | 432 | -406.421
| 6 | A | 1 | 7 | 480.8 | -407.445
| 6 | A | 1 | 8 | 529.6 | -406.421
| 6 | A | 1 | 9 | 578.4 | -404.372
| 6 | A | 1 | 10 | 627.2 | -402.322
| 6 | A | 1 | 11 | 676 | -404.713
| 6 | A | 1 | 12 | 724.8 | -413.935
| 6 | A | 1 | 13 | 773.6 | -420.765
| 6 | A | 1 | 14 | 822.4 | -427.254
| 6 | A | 1 | 15 | 871.2 | -432.036
| 6 | A | 1 | 16 | 920 | -439.208
| 6 | A | 1 | 17 | 968.8 | -440.915
| 6 | A | 1 | 18 | 1017.6 | -447.063
| 6 | A | 1 | 19 | 1066.4 | -453.21
| 6 | A | 1 | 20 | 1115.2 | -455.601
| 6 | A | 1 | 21 | 1164 | -459.016
| 6 | A | 1 | 22 | 1212.8 | -463.798
| 6 | A | 1 | 23 | 1261.6 | -468.921
| 6 | A | 1 | 24 | 1310.4 | -469.604
| 6 | A | 1 | 25 | 1359.2 | -471.653
| 6 | A | 1 | 26 | 1408 | -472.336
| 6 | A | 1 | 27 | 1456.8 | -475.751
| 6 | A | 1 | 28 | 1505.6 | -476.776
| 6 | A | 1 | 29 | 1554.4 | -481.557
| 6 | A | 1 | 30 | 1603.2 | -482.924
| 6 | A | 1 | 31 | 1652 | -480.874
| 6 | A | 1 | 32 | 1700.8 | -484.29
| 6 | B | 1 | 1 | 188 | 59.0846
| 6 | B | 1 | 2 | 236.8 | -152.664
| 6 | B | 1 | 3 | 285.6 | -248.292
| 6 | B | 1 | 4 | 334.4 | -309.426
| 6 | B | 1 | 5 | 383.2 | -346.653
| 6 | B | 1 | 6 | 432 | -370.219
| 6 | B | 1 | 7 | 480.8 | -383.197
| 6 | B | 1 | 8 | 529.6 | -396.175
| 6 | B | 1 | 9 | 578.4 | -400.615
| 6 | B | 1 | 10 | 627.2 | -402.664
| 6 | B | 1 | 11 | 676 | -407.104
| 6 | B | 1 | 12 | 724.8 | -415.984
| 6 | B | 1 | 13 | 773.6 | -420.424
| 6 | B | 1 | 14 | 822.4 | -426.23
| 6 | B | 1 | 15 | 871.2 | -433.743
| 6 | B | 1 | 16 | 920 | -437.842
| 6 | B | 1 | 17 | 968.8 | -443.306
| 6 | B | 1 | 18 | 1017.6 | -444.672
| 6 | B | 1 | 19 | 1066.4 | -450.137
| 6 | B | 1 | 20 | 1115.2 | -454.918
| 6 | B | 1 | 21 | 1164 | -456.967
| 6 | B | 1 | 22 | 1212.8 | -458.675
| 6 | B | 1 | 23 | 1261.6 | -462.773
| 6 | B | 1 | 24 | 1310.4 | -464.481
| 6 | B | 1 | 25 | 1359.2 | -469.604
| 6 | B | 1 | 26 | 1408 | -470.629
| 6 | B | 1 | 27 | 1456.8 | -472.336
| 6 | B | 1 | 28 | 1505.6 | -474.727
| 6 | B | 1 | 29 | 1554.4 | -474.727
| 6 | B | 1 | 30 | 1603.2 | -477.118
| 6 | B | 1 | 31 | 1652 | -479.508
| 6 | B | 1 | 32 | 1700.8 | -479.167
| 6 | C | 1 | 1 | 188 | 139.686
| 6 | C | 1 | 2 | 236.8 | 142.076
| 6 | C | 1 | 3 | 285.6 | 151.639
| 6 | C | 1 | 4 | 334.4 | 151.298
| 6 | C | 1 | 5 | 383.2 | 148.565
| 6 | C | 1 | 6 | 432 | 150.273
| 6 | C | 1 | 7 | 480.8 | 155.396
| 6 | C | 1 | 8 | 529.6 | 154.03
| 6 | C | 1 | 9 | 578.4 | 153.688
| 6 | C | 1 | 10 | 627.2 | 155.738
| 6 | C | 1 | 11 | 676 | 156.421
| 6 | C | 1 | 12 | 724.8 | 157.104
| 6 | C | 1 | 13 | 773.6 | 157.787
| 6 | C | 1 | 14 | 822.4 | 156.079
| 6 | C | 1 | 15 | 871.2 | 159.836
| 6 | C | 1 | 16 | 920 | 155.055
| 6 | C | 1 | 17 | 968.8 | 158.128
| 6 | C | 1 | 18 | 1017.6 | 157.787
| 6 | C | 1 | 19 | 1066.4 | 158.811
| 6 | C | 1 | 20 | 1115.2 | 158.128
| 6 | C | 1 | 21 | 1164 | 158.128
| 6 | C | 1 | 22 | 1212.8 | 160.519
| 6 | C | 1 | 23 | 1261.6 | 157.787
| 6 | C | 1 | 24 | 1310.4 | 156.421
| 6 | C | 1 | 25 | 1359.2 | 158.47
| 6 | C | 1 | 26 | 1408 | 157.104
| 6 | C | 1 | 27 | 1456.8 | 156.421
| 6 | C | 1 | 28 | 1505.6 | 157.445
| 6 | C | 1 | 29 | 1554.4 | 158.128
| 6 | C | 1 | 30 | 1603.2 | 156.079
| 6 | C | 1 | 31 | 1652 | 156.762
| 6 | C | 1 | 32 | 1700.8 | 159.494
| 6 | D | 1 | 1 | 188 | 143.101
| 6 | D | 1 | 2 | 236.8 | 149.249
| 6 | D | 1 | 3 | 285.6 | 159.494
| 6 | D | 1 | 4 | 334.4 | 161.544
| 6 | D | 1 | 5 | 383.2 | 161.202
| 6 | D | 1 | 6 | 432 | 165.984
| 6 | D | 1 | 7 | 480.8 | 168.033
| 6 | D | 1 | 8 | 529.6 | 167.691
| 6 | D | 1 | 9 | 578.4 | 169.399
| 6 | D | 1 | 10 | 627.2 | 175.546
| 6 | D | 1 | 11 | 676 | 172.814
| 6 | D | 1 | 12 | 724.8 | 172.814
| 6 | D | 1 | 13 | 773.6 | 176.571
| 6 | D | 1 | 14 | 822.4 | 179.303
| 6 | D | 1 | 15 | 871.2 | 177.937
| 6 | D | 1 | 16 | 920 | 178.62
| 6 | D | 1 | 17 | 968.8 | 180.328
| 6 | D | 1 | 18 | 1017.6 | 181.352
| 6 | D | 1 | 19 | 1066.4 | 179.986
| 6 | D | 1 | 20 | 1115.2 | 179.303
| 6 | D | 1 | 21 | 1164 | 182.035
| 6 | D | 1 | 22 | 1212.8 | 183.743
| 6 | D | 1 | 23 | 1261.6 | 183.06
| 6 | D | 1 | 24 | 1310.4 | 183.402
| 6 | D | 1 | 25 | 1359.2 | 183.06
| 6 | D | 1 | 26 | 1408 | 184.768
| 6 | D | 1 | 27 | 1456.8 | 182.718
| 6 | D | 1 | 28 | 1505.6 | 185.109
| 6 | D | 1 | 29 | 1554.4 | 186.475
| 6 | D | 1 | 30 | 1603.2 | 185.792
| 6 | D | 1 | 31 | 1652 | 187.841
| 6 | D | 1 | 32 | 1700.8 | 186.475
| 7 | A | 1 | 1 | 188 | 41.325
| 7 | A | 1 | 2 | 236.8 | -205.601
| 7 | A | 1 | 3 | 285.6 | -319.672
| 7 | A | 1 | 4 | 334.4 | -396.516
| 7 | A | 1 | 5 | 383.2 | -436.134
| 7 | A | 1 | 6 | 432 | -449.795
| 7 | A | 1 | 7 | 480.8 | -450.137
| 7 | A | 1 | 8 | 529.6 | -447.404
| 7 | A | 1 | 9 | 578.4 | -440.232
| 7 | A | 1 | 10 | 627.2 | -437.159
| 7 | A | 1 | 11 | 676 | -440.915
| 7 | A | 1 | 12 | 724.8 | -446.38
| 7 | A | 1 | 13 | 773.6 | -453.552
| 7 | A | 1 | 14 | 822.4 | -462.09
| 7 | A | 1 | 15 | 871.2 | -467.213
| 7 | A | 1 | 16 | 920 | -474.385
| 7 | A | 1 | 17 | 968.8 | -478.484
| 7 | A | 1 | 18 | 1017.6 | -483.948
| 7 | A | 1 | 19 | 1066.4 | -485.997
| 7 | A | 1 | 20 | 1115.2 | -491.12
| 7 | A | 1 | 21 | 1164 | -496.243
| 7 | A | 1 | 22 | 1212.8 | -498.975
| 7 | A | 1 | 23 | 1261.6 | -500.683
| 7 | A | 1 | 24 | 1310.4 | -505.806
| 7 | A | 1 | 25 | 1359.2 | -506.489
| 7 | A | 1 | 26 | 1408 | -509.221
| 7 | A | 1 | 27 | 1456.8 | -512.637
| 7 | A | 1 | 28 | 1505.6 | -514.344
| 7 | A | 1 | 29 | 1554.4 | -516.052
| 7 | A | 1 | 30 | 1603.2 | -520.15
| 7 | A | 1 | 31 | 1652 | -519.126
| 7 | A | 1 | 32 | 1700.8 | -520.15
| 7 | B | 1 | 1 | 188 | 53.9617
| 7 | B | 1 | 2 | 236.8 | -169.057
| 7 | B | 1 | 3 | 285.6 | -268.443
| 7 | B | 1 | 4 | 334.4 | -336.066
| 7 | B | 1 | 5 | 383.2 | -375
| 7 | B | 1 | 6 | 432 | -396.858
| 7 | B | 1 | 7 | 480.8 | -413.935
| 7 | B | 1 | 8 | 529.6 | -424.863
| 7 | B | 1 | 9 | 578.4 | -428.962
| 7 | B | 1 | 10 | 627.2 | -434.768
| 7 | B | 1 | 11 | 676 | -440.915
| 7 | B | 1 | 12 | 724.8 | -443.306
| 7 | B | 1 | 13 | 773.6 | -450.478
| 7 | B | 1 | 14 | 822.4 | -457.309
| 7 | B | 1 | 15 | 871.2 | -461.749
| 7 | B | 1 | 16 | 920 | -469.262
| 7 | B | 1 | 17 | 968.8 | -472.336
| 7 | B | 1 | 18 | 1017.6 | -477.118
| 7 | B | 1 | 19 | 1066.4 | -479.85
| 7 | B | 1 | 20 | 1115.2 | -485.656
| 7 | B | 1 | 21 | 1164 | -488.73
| 7 | B | 1 | 22 | 1212.8 | -490.096
| 7 | B | 1 | 23 | 1261.6 | -495.219
| 7 | B | 1 | 24 | 1310.4 | -497.951
| 7 | B | 1 | 25 | 1359.2 | -499.317
| 7 | B | 1 | 26 | 1408 | -501.708
| 7 | B | 1 | 27 | 1456.8 | -506.148
| 7 | B | 1 | 28 | 1505.6 | -505.806
| 7 | B | 1 | 29 | 1554.4 | -509.904
| 7 | B | 1 | 30 | 1603.2 | -512.295
| 7 | B | 1 | 31 | 1652 | -511.954
| 7 | B | 1 | 32 | 1700.8 | -514.686
| 7 | C | 1 | 1 | 188 | 142.076
| 7 | C | 1 | 2 | 236.8 | 145.833
| 7 | C | 1 | 3 | 285.6 | 154.713
| 7 | C | 1 | 4 | 334.4 | 152.664
| 7 | C | 1 | 5 | 383.2 | 149.59
| 7 | C | 1 | 6 | 432 | 155.055
| 7 | C | 1 | 7 | 480.8 | 156.079
| 7 | C | 1 | 8 | 529.6 | 153.347
| 7 | C | 1 | 9 | 578.4 | 157.445
| 7 | C | 1 | 10 | 627.2 | 155.738
| 7 | C | 1 | 11 | 676 | 156.421
| 7 | C | 1 | 12 | 724.8 | 158.47
| 7 | C | 1 | 13 | 773.6 | 156.421
| 7 | C | 1 | 14 | 822.4 | 155.396
| 7 | C | 1 | 15 | 871.2 | 158.128
| 7 | C | 1 | 16 | 920 | 158.128
| 7 | C | 1 | 17 | 968.8 | 156.079
| 7 | C | 1 | 18 | 1017.6 | 157.104
| 7 | C | 1 | 19 | 1066.4 | 157.787
| 7 | C | 1 | 20 | 1115.2 | 158.47
| 7 | C | 1 | 21 | 1164 | 159.836
| 7 | C | 1 | 22 | 1212.8 | 160.519
| 7 | C | 1 | 23 | 1261.6 | 156.762
| 7 | C | 1 | 24 | 1310.4 | 157.787
| 7 | C | 1 | 25 | 1359.2 | 156.079
| 7 | C | 1 | 26 | 1408 | 158.47
| 7 | C | 1 | 27 | 1456.8 | 156.421
| 7 | C | 1 | 28 | 1505.6 | 157.445
| 7 | C | 1 | 29 | 1554.4 | 156.421
| 7 | C | 1 | 30 | 1603.2 | 159.494
| 7 | C | 1 | 31 | 1652 | 155.055
| 7 | C | 1 | 32 | 1700.8 | 157.104
| 7 | D | 1 | 1 | 188 | 140.027
| 7 | D | 1 | 2 | 236.8 | 145.15
| 7 | D | 1 | 3 | 285.6 | 156.079
| 7 | D | 1 | 4 | 334.4 | 156.079
| 7 | D | 1 | 5 | 383.2 | 156.421
| 7 | D | 1 | 6 | 432 | 160.861
| 7 | D | 1 | 7 | 480.8 | 166.667
| 7 | D | 1 | 8 | 529.6 | 164.617
| 7 | D | 1 | 9 | 578.4 | 166.325
| 7 | D | 1 | 10 | 627.2 | 168.374
| 7 | D | 1 | 11 | 676 | 169.057
| 7 | D | 1 | 12 | 724.8 | 170.765
| 7 | D | 1 | 13 | 773.6 | 170.765
| 7 | D | 1 | 14 | 822.4 | 171.448
| 7 | D | 1 | 15 | 871.2 | 174.18
| 7 | D | 1 | 16 | 920 | 174.863
| 7 | D | 1 | 17 | 968.8 | 174.863
| 7 | D | 1 | 18 | 1017.6 | 176.229
| 7 | D | 1 | 19 | 1066.4 | 178.962
| 7 | D | 1 | 20 | 1115.2 | 177.937
| 7 | D | 1 | 21 | 1164 | 174.522
| 7 | D | 1 | 22 | 1212.8 | 177.596
| 7 | D | 1 | 23 | 1261.6 | 177.937
| 7 | D | 1 | 24 | 1310.4 | 178.279
| 7 | D | 1 | 25 | 1359.2 | 180.328
| 7 | D | 1 | 26 | 1408 | 180.669
| 7 | D | 1 | 27 | 1456.8 | 178.962
| 7 | D | 1 | 28 | 1505.6 | 179.986
| 7 | D | 1 | 29 | 1554.4 | 179.645
| 7 | D | 1 | 30 | 1603.2 | 178.62
| 7 | D | 1 | 31 | 1652 | 178.279
| 7 | D | 1 | 32 | 1700.8 | 179.645
| 8 | A | 1 | 1 | 188 | 35.519
| 8 | A | 1 | 2 | 236.8 | -227.118
| 8 | A | 1 | 3 | 285.6 | -349.385
| 8 | A | 1 | 4 | 334.4 | -435.109
| 8 | A | 1 | 5 | 383.2 | -480.191
| 8 | A | 1 | 6 | 432 | -493.853
| 8 | A | 1 | 7 | 480.8 | -491.803
| 8 | A | 1 | 8 | 529.6 | -484.29
| 8 | A | 1 | 9 | 578.4 | -476.093
| 8 | A | 1 | 10 | 627.2 | -467.213
| 8 | A | 1 | 11 | 676 | -471.995
| 8 | A | 1 | 12 | 724.8 | -477.801
| 8 | A | 1 | 13 | 773.6 | -483.607
| 8 | A | 1 | 14 | 822.4 | -489.413
| 8 | A | 1 | 15 | 871.2 | -500.683
| 8 | A | 1 | 16 | 920 | -505.806
| 8 | A | 1 | 17 | 968.8 | -510.246
| 8 | A | 1 | 18 | 1017.6 | -516.735
| 8 | A | 1 | 19 | 1066.4 | -522.541
| 8 | A | 1 | 20 | 1115.2 | -527.323
| 8 | A | 1 | 21 | 1164 | -526.981
| 8 | A | 1 | 22 | 1212.8 | -533.47
| 8 | A | 1 | 23 | 1261.6 | -536.885
| 8 | A | 1 | 24 | 1310.4 | -538.935
| 8 | A | 1 | 25 | 1359.2 | -541.667
| 8 | A | 1 | 26 | 1408 | -544.741
| 8 | A | 1 | 27 | 1456.8 | -546.448
| 8 | A | 1 | 28 | 1505.6 | -549.522
| 8 | A | 1 | 29 | 1554.4 | -549.522
| 8 | A | 1 | 30 | 1603.2 | -551.913
| 8 | A | 1 | 31 | 1652 | -554.645
| 8 | A | 1 | 32 | 1700.8 | -555.328
| 8 | B | 1 | 1 | 188 | 48.4972
| 8 | B | 1 | 2 | 236.8 | -184.426
| 8 | B | 1 | 3 | 285.6 | -293.033
| 8 | B | 1 | 4 | 334.4 | -361.339
| 8 | B | 1 | 5 | 383.2 | -408.129
| 8 | B | 1 | 6 | 432 | -428.962
| 8 | B | 1 | 7 | 480.8 | -444.672
| 8 | B | 1 | 8 | 529.6 | -455.26
| 8 | B | 1 | 9 | 578.4 | -459.7
| 8 | B | 1 | 10 | 627.2 | -464.139
| 8 | B | 1 | 11 | 676 | -471.312
| 8 | B | 1 | 12 | 724.8 | -475.751
| 8 | B | 1 | 13 | 773.6 | -481.216
| 8 | B | 1 | 14 | 822.4 | -490.096
| 8 | B | 1 | 15 | 871.2 | -496.585
| 8 | B | 1 | 16 | 920 | -502.049
| 8 | B | 1 | 17 | 968.8 | -506.489
| 8 | B | 1 | 18 | 1017.6 | -513.32
| 8 | B | 1 | 19 | 1066.4 | -514.003
| 8 | B | 1 | 20 | 1115.2 | -520.833
| 8 | B | 1 | 21 | 1164 | -523.224
| 8 | B | 1 | 22 | 1212.8 | -526.298
| 8 | B | 1 | 23 | 1261.6 | -532.104
| 8 | B | 1 | 24 | 1310.4 | -531.762
| 8 | B | 1 | 25 | 1359.2 | -536.885
| 8 | B | 1 | 26 | 1408 | -540.301
| 8 | B | 1 | 27 | 1456.8 | -540.301
| 8 | B | 1 | 28 | 1505.6 | -542.35
| 8 | B | 1 | 29 | 1554.4 | -546.107
| 8 | B | 1 | 30 | 1603.2 | -546.448
| 8 | B | 1 | 31 | 1652 | -546.107
| 8 | B | 1 | 32 | 1700.8 | -548.839
| 8 | C | 1 | 1 | 188 | 140.027
| 8 | C | 1 | 2 | 236.8 | 145.492
| 8 | C | 1 | 3 | 285.6 | 154.371
| 8 | C | 1 | 4 | 334.4 | 149.59
| 8 | C | 1 | 5 | 383.2 | 148.224
| 8 | C | 1 | 6 | 432 | 152.664
| 8 | C | 1 | 7 | 480.8 | 153.005
| 8 | C | 1 | 8 | 529.6 | 149.932
| 8 | C | 1 | 9 | 578.4 | 152.322
| 8 | C | 1 | 10 | 627.2 | 153.688
| 8 | C | 1 | 11 | 676 | 153.688
| 8 | C | 1 | 12 | 724.8 | 154.713
| 8 | C | 1 | 13 | 773.6 | 155.396
| 8 | C | 1 | 14 | 822.4 | 152.664
| 8 | C | 1 | 15 | 871.2 | 154.03
| 8 | C | 1 | 16 | 920 | 152.322
| 8 | C | 1 | 17 | 968.8 | 154.713
| 8 | C | 1 | 18 | 1017.6 | 156.079
| 8 | C | 1 | 19 | 1066.4 | 155.055
| 8 | C | 1 | 20 | 1115.2 | 155.055
| 8 | C | 1 | 21 | 1164 | 155.738
| 8 | C | 1 | 22 | 1212.8 | 156.079
| 8 | C | 1 | 23 | 1261.6 | 154.713
| 8 | C | 1 | 24 | 1310.4 | 155.738
| 8 | C | 1 | 25 | 1359.2 | 151.981
| 8 | C | 1 | 26 | 1408 | 155.055
| 8 | C | 1 | 27 | 1456.8 | 156.762
| 8 | C | 1 | 28 | 1505.6 | 154.713
| 8 | C | 1 | 29 | 1554.4 | 153.005
| 8 | C | 1 | 30 | 1603.2 | 157.104
| 8 | C | 1 | 31 | 1652 | 153.688
| 8 | C | 1 | 32 | 1700.8 | 155.055
| 8 | D | 1 | 1 | 188 | 139.686
| 8 | D | 1 | 2 | 236.8 | 146.175
| 8 | D | 1 | 3 | 285.6 | 159.836
| 8 | D | 1 | 4 | 334.4 | 157.104
| 8 | D | 1 | 5 | 383.2 | 156.762
| 8 | D | 1 | 6 | 432 | 165.642
| 8 | D | 1 | 7 | 480.8 | 164.959
| 8 | D | 1 | 8 | 529.6 | 162.568
| 8 | D | 1 | 9 | 578.4 | 168.374
| 8 | D | 1 | 10 | 627.2 | 171.448
| 8 | D | 1 | 11 | 676 | 169.399
| 8 | D | 1 | 12 | 724.8 | 171.448
| 8 | D | 1 | 13 | 773.6 | 175.205
| 8 | D | 1 | 14 | 822.4 | 174.18
| 8 | D | 1 | 15 | 871.2 | 175.546
| 8 | D | 1 | 16 | 920 | 174.863
| 8 | D | 1 | 17 | 968.8 | 176.229
| 8 | D | 1 | 18 | 1017.6 | 175.888
| 8 | D | 1 | 19 | 1066.4 | 174.18
| 8 | D | 1 | 20 | 1115.2 | 177.254
| 8 | D | 1 | 21 | 1164 | 176.912
| 8 | D | 1 | 22 | 1212.8 | 178.962
| 8 | D | 1 | 23 | 1261.6 | 177.596
| 8 | D | 1 | 24 | 1310.4 | 178.62
| 8 | D | 1 | 25 | 1359.2 | 179.645
| 8 | D | 1 | 26 | 1408 | 177.937
| 8 | D | 1 | 27 | 1456.8 | 179.303
| 8 | D | 1 | 28 | 1505.6 | 180.328
| 8 | D | 1 | 29 | 1554.4 | 179.303
| 8 | D | 1 | 30 | 1603.2 | 180.328
| 8 | D | 1 | 31 | 1652 | 179.986
| 8 | D | 1 | 32 | 1700.8 | 181.011
| 9 | A | 1 | 1 | 188 | 27.6638
| 9 | A | 1 | 2 | 236.8 | -248.975
| 9 | A | 1 | 3 | 285.6 | -383.538
| 9 | A | 1 | 4 | 334.4 | -477.118
| 9 | A | 1 | 5 | 383.2 | -525.956
| 9 | A | 1 | 6 | 432 | -538.935
| 9 | A | 1 | 7 | 480.8 | -534.836
| 9 | A | 1 | 8 | 529.6 | -521.516
| 9 | A | 1 | 9 | 578.4 | -508.538
| 9 | A | 1 | 10 | 627.2 | -503.415
| 9 | A | 1 | 11 | 676 | -503.074
| 9 | A | 1 | 12 | 724.8 | -507.855
| 9 | A | 1 | 13 | 773.6 | -516.052
| 9 | A | 1 | 14 | 822.4 | -522.883
| 9 | A | 1 | 15 | 871.2 | -531.421
| 9 | A | 1 | 16 | 920 | -537.227
| 9 | A | 1 | 17 | 968.8 | -542.008
| 9 | A | 1 | 18 | 1017.6 | -548.497
| 9 | A | 1 | 19 | 1066.4 | -552.937
| 9 | A | 1 | 20 | 1115.2 | -557.719
| 9 | A | 1 | 21 | 1164 | -560.451
| 9 | A | 1 | 22 | 1212.8 | -565.915
| 9 | A | 1 | 23 | 1261.6 | -568.648
| 9 | A | 1 | 24 | 1310.4 | -569.331
| 9 | A | 1 | 25 | 1359.2 | -572.063
| 9 | A | 1 | 26 | 1408 | -578.21
| 9 | A | 1 | 27 | 1456.8 | -576.503
| 9 | A | 1 | 28 | 1505.6 | -580.601
| 9 | A | 1 | 29 | 1554.4 | -583.675
| 9 | A | 1 | 30 | 1603.2 | -584.7
| 9 | A | 1 | 31 | 1652 | -586.407
| 9 | A | 1 | 32 | 1700.8 | -588.798
| 9 | B | 1 | 1 | 188 | 44.7403
| 9 | B | 1 | 2 | 236.8 | -202.527
| 9 | B | 1 | 3 | 285.6 | -317.965
| 9 | B | 1 | 4 | 334.4 | -393.101
| 9 | B | 1 | 5 | 383.2 | -438.183
| 9 | B | 1 | 6 | 432 | -458.675
| 9 | B | 1 | 7 | 480.8 | -478.142
| 9 | B | 1 | 8 | 529.6 | -490.437
| 9 | B | 1 | 9 | 578.4 | -490.437
| 9 | B | 1 | 10 | 627.2 | -496.243
| 9 | B | 1 | 11 | 676 | -504.781
| 9 | B | 1 | 12 | 724.8 | -510.588
| 9 | B | 1 | 13 | 773.6 | -516.735
| 9 | B | 1 | 14 | 822.4 | -523.566
| 9 | B | 1 | 15 | 871.2 | -531.762
| 9 | B | 1 | 16 | 920 | -532.787
| 9 | B | 1 | 17 | 968.8 | -541.325
| 9 | B | 1 | 18 | 1017.6 | -548.156
| 9 | B | 1 | 19 | 1066.4 | -550.547
| 9 | B | 1 | 20 | 1115.2 | -553.279
| 9 | B | 1 | 21 | 1164 | -559.426
| 9 | B | 1 | 22 | 1212.8 | -562.842
| 9 | B | 1 | 23 | 1261.6 | -566.257
| 9 | B | 1 | 24 | 1310.4 | -569.672
| 9 | B | 1 | 25 | 1359.2 | -572.404
| 9 | B | 1 | 26 | 1408 | -575.478
| 9 | B | 1 | 27 | 1456.8 | -577.186
| 9 | B | 1 | 28 | 1505.6 | -579.918
| 9 | B | 1 | 29 | 1554.4 | -582.309
| 9 | B | 1 | 30 | 1603.2 | -582.65
| 9 | B | 1 | 31 | 1652 | -583.675
| 9 | B | 1 | 32 | 1700.8 | -586.749
| 9 | C | 1 | 1 | 188 | 140.71
| 9 | C | 1 | 2 | 236.8 | 145.833
| 9 | C | 1 | 3 | 285.6 | 153.688
| 9 | C | 1 | 4 | 334.4 | 149.59
| 9 | C | 1 | 5 | 383.2 | 147.882
| 9 | C | 1 | 6 | 432 | 149.59
| 9 | C | 1 | 7 | 480.8 | 150.615
| 9 | C | 1 | 8 | 529.6 | 147.541
| 9 | C | 1 | 9 | 578.4 | 148.907
| 9 | C | 1 | 10 | 627.2 | 153.347
| 9 | C | 1 | 11 | 676 | 149.932
| 9 | C | 1 | 12 | 724.8 | 149.59
| 9 | C | 1 | 13 | 773.6 | 151.298
| 9 | C | 1 | 14 | 822.4 | 154.371
| 9 | C | 1 | 15 | 871.2 | 149.249
| 9 | C | 1 | 16 | 920 | 150.615
| 9 | C | 1 | 17 | 968.8 | 151.298
| 9 | C | 1 | 18 | 1017.6 | 151.639
| 9 | C | 1 | 19 | 1066.4 | 154.713
| 9 | C | 1 | 20 | 1115.2 | 150.273
| 9 | C | 1 | 21 | 1164 | 150.615
| 9 | C | 1 | 22 | 1212.8 | 154.713
| 9 | C | 1 | 23 | 1261.6 | 148.565
| 9 | C | 1 | 24 | 1310.4 | 147.199
| 9 | C | 1 | 25 | 1359.2 | 149.932
| 9 | C | 1 | 26 | 1408 | 151.981
| 9 | C | 1 | 27 | 1456.8 | 148.565
| 9 | C | 1 | 28 | 1505.6 | 149.249
| 9 | C | 1 | 29 | 1554.4 | 149.249
| 9 | C | 1 | 30 | 1603.2 | 148.224
| 9 | C | 1 | 31 | 1652 | 147.541
| 9 | C | 1 | 32 | 1700.8 | 149.249
| 9 | D | 1 | 1 | 188 | 139.686
| 9 | D | 1 | 2 | 236.8 | 148.907
| 9 | D | 1 | 3 | 285.6 | 158.128
| 9 | D | 1 | 4 | 334.4 | 156.762
| 9 | D | 1 | 5 | 383.2 | 156.079
| 9 | D | 1 | 6 | 432 | 165.3
| 9 | D | 1 | 7 | 480.8 | 165.642
| 9 | D | 1 | 8 | 529.6 | 163.251
| 9 | D | 1 | 9 | 578.4 | 171.79
| 9 | D | 1 | 10 | 627.2 | 170.082
| 9 | D | 1 | 11 | 676 | 168.716
| 9 | D | 1 | 12 | 724.8 | 172.131
| 9 | D | 1 | 13 | 773.6 | 174.18
| 9 | D | 1 | 14 | 822.4 | 173.156
| 9 | D | 1 | 15 | 871.2 | 176.229
| 9 | D | 1 | 16 | 920 | 174.522
| 9 | D | 1 | 17 | 968.8 | 172.814
| 9 | D | 1 | 18 | 1017.6 | 174.863
| 9 | D | 1 | 19 | 1066.4 | 176.229
| 9 | D | 1 | 20 | 1115.2 | 176.912
| 9 | D | 1 | 21 | 1164 | 177.937
| 9 | D | 1 | 22 | 1212.8 | 177.254
| 9 | D | 1 | 23 | 1261.6 | 174.522
| 9 | D | 1 | 24 | 1310.4 | 177.254
| 9 | D | 1 | 25 | 1359.2 | 176.912
| 9 | D | 1 | 26 | 1408 | 175.205
| 9 | D | 1 | 27 | 1456.8 | 177.596
| 9 | D | 1 | 28 | 1505.6 | 178.279
| 9 | D | 1 | 29 | 1554.4 | 177.254
| 9 | D | 1 | 30 | 1603.2 | 176.912
| 9 | D | 1 | 31 | 1652 | 176.571
| 9 | D | 1 | 32 | 1700.8 | 177.254
| 10 | A | 1 | 1 | 188 | 23.907
| 10 | A | 1 | 2 | 236.8 | -268.784
| 10 | A | 1 | 3 | 285.6 | -410.861
| 10 | A | 1 | 4 | 334.4 | -515.369
| 10 | A | 1 | 5 | 383.2 | -572.404
| 10 | A | 1 | 6 | 432 | -578.552
| 10 | A | 1 | 7 | 480.8 | -575.478
| 10 | A | 1 | 8 | 529.6 | -561.134
| 10 | A | 1 | 9 | 578.4 | -546.448
| 10 | A | 1 | 10 | 627.2 | -537.568
| 10 | A | 1 | 11 | 676 | -540.301
| 10 | A | 1 | 12 | 724.8 | -543.374
| 10 | A | 1 | 13 | 773.6 | -552.254
| 10 | A | 1 | 14 | 822.4 | -562.159
| 10 | A | 1 | 15 | 871.2 | -568.989
| 10 | A | 1 | 16 | 920 | -577.186
| 10 | A | 1 | 17 | 968.8 | -584.016
| 10 | A | 1 | 18 | 1017.6 | -591.189
| 10 | A | 1 | 19 | 1066.4 | -593.921
| 10 | A | 1 | 20 | 1115.2 | -599.044
| 10 | A | 1 | 21 | 1164 | -604.167
| 10 | A | 1 | 22 | 1212.8 | -608.948
| 10 | A | 1 | 23 | 1261.6 | -613.388
| 10 | A | 1 | 24 | 1310.4 | -616.12
| 10 | A | 1 | 25 | 1359.2 | -618.853
| 10 | A | 1 | 26 | 1408 | -623.292
| 10 | A | 1 | 27 | 1456.8 | -624.317
| 10 | A | 1 | 28 | 1505.6 | -628.074
| 10 | A | 1 | 29 | 1554.4 | -629.44
| 10 | A | 1 | 30 | 1603.2 | -630.806
| 10 | A | 1 | 31 | 1652 | -635.929
| 10 | A | 1 | 32 | 1700.8 | -638.32
| 10 | B | 1 | 1 | 188 | 40.3004
| 10 | B | 1 | 2 | 236.8 | -217.213
| 10 | B | 1 | 3 | 285.6 | -338.798
| 10 | B | 1 | 4 | 334.4 | -417.008
| 10 | B | 1 | 5 | 383.2 | -464.139
| 10 | B | 1 | 6 | 432 | -488.388
| 10 | B | 1 | 7 | 480.8 | -508.538
| 10 | B | 1 | 8 | 529.6 | -519.467
| 10 | B | 1 | 9 | 578.4 | -521.175
| 10 | B | 1 | 10 | 627.2 | -525.956
| 10 | B | 1 | 11 | 676 | -533.47
| 10 | B | 1 | 12 | 724.8 | -536.544
| 10 | B | 1 | 13 | 773.6 | -545.424
| 10 | B | 1 | 14 | 822.4 | -552.937
| 10 | B | 1 | 15 | 871.2 | -558.402
| 10 | B | 1 | 16 | 920 | -565.915
| 10 | B | 1 | 17 | 968.8 | -570.355
| 10 | B | 1 | 18 | 1017.6 | -575.137
| 10 | B | 1 | 19 | 1066.4 | -579.577
| 10 | B | 1 | 20 | 1115.2 | -581.967
| 10 | B | 1 | 21 | 1164 | -588.115
| 10 | B | 1 | 22 | 1212.8 | -590.506
| 10 | B | 1 | 23 | 1261.6 | -593.238
| 10 | B | 1 | 24 | 1310.4 | -597.678
| 10 | B | 1 | 25 | 1359.2 | -600.068
| 10 | B | 1 | 26 | 1408 | -601.776
| 10 | B | 1 | 27 | 1456.8 | -602.801
| 10 | B | 1 | 28 | 1505.6 | -605.191
| 10 | B | 1 | 29 | 1554.4 | -606.557
| 10 | B | 1 | 30 | 1603.2 | -608.607
| 10 | B | 1 | 31 | 1652 | -609.973
| 10 | B | 1 | 32 | 1700.8 | -612.363
| 10 | C | 1 | 1 | 188 | 139.686
| 10 | C | 1 | 2 | 236.8 | 148.565
| 10 | C | 1 | 3 | 285.6 | 153.005
| 10 | C | 1 | 4 | 334.4 | 148.565
| 10 | C | 1 | 5 | 383.2 | 148.565
| 10 | C | 1 | 6 | 432 | 151.639
| 10 | C | 1 | 7 | 480.8 | 149.932
| 10 | C | 1 | 8 | 529.6 | 145.833
| 10 | C | 1 | 9 | 578.4 | 149.249
| 10 | C | 1 | 10 | 627.2 | 150.956
| 10 | C | 1 | 11 | 676 | 148.565
| 10 | C | 1 | 12 | 724.8 | 147.882
| 10 | C | 1 | 13 | 773.6 | 150.273
| 10 | C | 1 | 14 | 822.4 | 146.858
| 10 | C | 1 | 15 | 871.2 | 148.224
| 10 | C | 1 | 16 | 920 | 152.322
| 10 | C | 1 | 17 | 968.8 | 151.298
| 10 | C | 1 | 18 | 1017.6 | 151.298
| 10 | C | 1 | 19 | 1066.4 | 151.298
| 10 | C | 1 | 20 | 1115.2 | 151.981
| 10 | C | 1 | 21 | 1164 | 149.59
| 10 | C | 1 | 22 | 1212.8 | 153.347
| 10 | C | 1 | 23 | 1261.6 | 152.322
| 10 | C | 1 | 24 | 1310.4 | 149.932
| 10 | C | 1 | 25 | 1359.2 | 150.273
| 10 | C | 1 | 26 | 1408 | 150.615
| 10 | C | 1 | 27 | 1456.8 | 150.956
| 10 | C | 1 | 28 | 1505.6 | 153.005
| 10 | C | 1 | 29 | 1554.4 | 153.688
| 10 | C | 1 | 30 | 1603.2 | 151.981
| 10 | C | 1 | 31 | 1652 | 154.03
| 10 | C | 1 | 32 | 1700.8 | 156.079
| 10 | D | 1 | 1 | 188 | 137.637
| 10 | D | 1 | 2 | 236.8 | 143.784
| 10 | D | 1 | 3 | 285.6 | 156.762
| 10 | D | 1 | 4 | 334.4 | 154.371
| 10 | D | 1 | 5 | 383.2 | 154.371
| 10 | D | 1 | 6 | 432 | 165.3
| 10 | D | 1 | 7 | 480.8 | 163.593
| 10 | D | 1 | 8 | 529.6 | 164.959
| 10 | D | 1 | 9 | 578.4 | 169.399
| 10 | D | 1 | 10 | 627.2 | 172.131
| 10 | D | 1 | 11 | 676 | 172.131
| 10 | D | 1 | 12 | 724.8 | 172.814
| 10 | D | 1 | 13 | 773.6 | 173.497
| 10 | D | 1 | 14 | 822.4 | 174.18
| 10 | D | 1 | 15 | 871.2 | 172.131
| 10 | D | 1 | 16 | 920 | 176.571
| 10 | D | 1 | 17 | 968.8 | 178.279
| 10 | D | 1 | 18 | 1017.6 | 177.254
| 10 | D | 1 | 19 | 1066.4 | 178.962
| 10 | D | 1 | 20 | 1115.2 | 179.645
| 10 | D | 1 | 21 | 1164 | 179.986
| 10 | D | 1 | 22 | 1212.8 | 178.62
| 10 | D | 1 | 23 | 1261.6 | 178.962
| 10 | D | 1 | 24 | 1310.4 | 180.328
| 10 | D | 1 | 25 | 1359.2 | 179.645
| 10 | D | 1 | 26 | 1408 | 180.669
| 10 | D | 1 | 27 | 1456.8 | 180.669
| 10 | D | 1 | 28 | 1505.6 | 181.352
| 10 | D | 1 | 29 | 1554.4 | 182.035
| 10 | D | 1 | 30 | 1603.2 | 181.352
| 10 | D | 1 | 31 | 1652 | 179.986
| 10 | D | 1 | 32 | 1700.8 | 180.669
| 11 | A | 1 | 1 | 188 | 18.4425
| 11 | A | 1 | 2 | 236.8 | -290.301
| 11 | A | 1 | 3 | 285.6 | -440.574
| 11 | A | 1 | 4 | 334.4 | -552.937
| 11 | A | 1 | 5 | 383.2 | -614.071
| 11 | A | 1 | 6 | 432 | -625.342
| 11 | A | 1 | 7 | 480.8 | -614.754
| 11 | A | 1 | 8 | 529.6 | -595.628
| 11 | A | 1 | 9 | 578.4 | -578.21
| 11 | A | 1 | 10 | 627.2 | -567.623
| 11 | A | 1 | 11 | 676 | -567.623
| 11 | A | 1 | 12 | 724.8 | -574.795
| 11 | A | 1 | 13 | 773.6 | -581.967
| 11 | A | 1 | 14 | 822.4 | -591.53
| 11 | A | 1 | 15 | 871.2 | -599.385
| 11 | A | 1 | 16 | 920 | -608.607
| 11 | A | 1 | 17 | 968.8 | -615.096
| 11 | A | 1 | 18 | 1017.6 | -620.219
| 11 | A | 1 | 19 | 1066.4 | -626.366
| 11 | A | 1 | 20 | 1115.2 | -629.781
| 11 | A | 1 | 21 | 1164 | -635.929
| 11 | A | 1 | 22 | 1212.8 | -638.661
| 11 | A | 1 | 23 | 1261.6 | -642.76
| 11 | A | 1 | 24 | 1310.4 | -645.833
| 11 | A | 1 | 25 | 1359.2 | -646.858
| 11 | A | 1 | 26 | 1408 | -650.956
| 11 | A | 1 | 27 | 1456.8 | -653.347
| 11 | A | 1 | 28 | 1505.6 | -654.372
| 11 | A | 1 | 29 | 1554.4 | -657.104
| 11 | A | 1 | 30 | 1603.2 | -660.861
| 11 | A | 1 | 31 | 1652 | -661.885
| 11 | A | 1 | 32 | 1700.8 | -658.47
| 11 | B | 1 | 1 | 188 | 37.5682
| 11 | B | 1 | 2 | 236.8 | -231.216
| 11 | B | 1 | 3 | 285.6 | -361.339
| 11 | B | 1 | 4 | 334.4 | -444.672
| 11 | B | 1 | 5 | 383.2 | -496.585
| 11 | B | 1 | 6 | 432 | -520.833
| 11 | B | 1 | 7 | 480.8 | -540.984
| 11 | B | 1 | 8 | 529.6 | -554.645
| 11 | B | 1 | 9 | 578.4 | -555.669
| 11 | B | 1 | 10 | 627.2 | -559.085
| 11 | B | 1 | 11 | 676 | -565.915
| 11 | B | 1 | 12 | 724.8 | -573.088
| 11 | B | 1 | 13 | 773.6 | -577.869
| 11 | B | 1 | 14 | 822.4 | -586.066
| 11 | B | 1 | 15 | 871.2 | -592.555
| 11 | B | 1 | 16 | 920 | -598.702
| 11 | B | 1 | 17 | 968.8 | -605.533
| 11 | B | 1 | 18 | 1017.6 | -609.631
| 11 | B | 1 | 19 | 1066.4 | -612.022
| 11 | B | 1 | 20 | 1115.2 | -618.853
| 11 | B | 1 | 21 | 1164 | -622.951
| 11 | B | 1 | 22 | 1212.8 | -625.683
| 11 | B | 1 | 23 | 1261.6 | -629.44
| 11 | B | 1 | 24 | 1310.4 | -633.88
| 11 | B | 1 | 25 | 1359.2 | -635.246
| 11 | B | 1 | 26 | 1408 | -638.661
| 11 | B | 1 | 27 | 1456.8 | -642.418
| 11 | B | 1 | 28 | 1505.6 | -644.467
| 11 | B | 1 | 29 | 1554.4 | -642.76
| 11 | B | 1 | 30 | 1603.2 | -647.2
| 11 | B | 1 | 31 | 1652 | -648.224
| 11 | B | 1 | 32 | 1700.8 | -646.858
| 11 | C | 1 | 1 | 188 | 141.735
| 11 | C | 1 | 2 | 236.8 | 148.224
| 11 | C | 1 | 3 | 285.6 | 154.371
| 11 | C | 1 | 4 | 334.4 | 150.615
| 11 | C | 1 | 5 | 383.2 | 147.199
| 11 | C | 1 | 6 | 432 | 150.273
| 11 | C | 1 | 7 | 480.8 | 148.565
| 11 | C | 1 | 8 | 529.6 | 145.15
| 11 | C | 1 | 9 | 578.4 | 147.199
| 11 | C | 1 | 10 | 627.2 | 149.249
| 11 | C | 1 | 11 | 676 | 146.858
| 11 | C | 1 | 12 | 724.8 | 147.199
| 11 | C | 1 | 13 | 773.6 | 149.249
| 11 | C | 1 | 14 | 822.4 | 148.224
| 11 | C | 1 | 15 | 871.2 | 148.907
| 11 | C | 1 | 16 | 920 | 148.907
| 11 | C | 1 | 17 | 968.8 | 149.59
| 11 | C | 1 | 18 | 1017.6 | 150.273
| 11 | C | 1 | 19 | 1066.4 | 148.224
| 11 | C | 1 | 20 | 1115.2 | 149.932
| 11 | C | 1 | 21 | 1164 | 149.932
| 11 | C | 1 | 22 | 1212.8 | 148.565
| 11 | C | 1 | 23 | 1261.6 | 149.249
| 11 | C | 1 | 24 | 1310.4 | 149.249
| 11 | C | 1 | 25 | 1359.2 | 148.224
| 11 | C | 1 | 26 | 1408 | 147.541
| 11 | C | 1 | 27 | 1456.8 | 149.932
| 11 | C | 1 | 28 | 1505.6 | 147.199
| 11 | C | 1 | 29 | 1554.4 | 148.907
| 11 | C | 1 | 30 | 1603.2 | 149.249
| 11 | C | 1 | 31 | 1652 | 147.882
| 11 | C | 1 | 32 | 1700.8 | 147.882
| 11 | D | 1 | 1 | 188 | 140.369
| 11 | D | 1 | 2 | 236.8 | 147.199
| 11 | D | 1 | 3 | 285.6 | 157.445
| 11 | D | 1 | 4 | 334.4 | 156.762
| 11 | D | 1 | 5 | 383.2 | 158.811
| 11 | D | 1 | 6 | 432 | 165.3
| 11 | D | 1 | 7 | 480.8 | 167.008
| 11 | D | 1 | 8 | 529.6 | 168.374
| 11 | D | 1 | 9 | 578.4 | 172.473
| 11 | D | 1 | 10 | 627.2 | 172.473
| 11 | D | 1 | 11 | 676 | 173.497
| 11 | D | 1 | 12 | 724.8 | 176.912
| 11 | D | 1 | 13 | 773.6 | 174.522
| 11 | D | 1 | 14 | 822.4 | 176.571
| 11 | D | 1 | 15 | 871.2 | 179.645
| 11 | D | 1 | 16 | 920 | 177.937
| 11 | D | 1 | 17 | 968.8 | 178.962
| 11 | D | 1 | 18 | 1017.6 | 183.743
| 11 | D | 1 | 19 | 1066.4 | 183.06
| 11 | D | 1 | 20 | 1115.2 | 183.06
| 11 | D | 1 | 21 | 1164 | 184.426
| 11 | D | 1 | 22 | 1212.8 | 186.134
| 11 | D | 1 | 23 | 1261.6 | 186.134
| 11 | D | 1 | 24 | 1310.4 | 186.475
| 11 | D | 1 | 25 | 1359.2 | 187.5
| 11 | D | 1 | 26 | 1408 | 185.109
| 11 | D | 1 | 27 | 1456.8 | 186.134
| 11 | D | 1 | 28 | 1505.6 | 189.549
| 11 | D | 1 | 29 | 1554.4 | 187.841
| 11 | D | 1 | 30 | 1603.2 | 188.183
| 11 | D | 1 | 31 | 1652 | 186.817
| 11 | D | 1 | 32 | 1700.8 | 191.94

## NRT Recordings
Status | NRT Nr | N | Time (µs) | ECAP (µV) | Filtered ECAP (µV)
| 1 | 1 | 188 | 6.7168
| 1 | 2 | 236.8 | 4.3261
| 1 | 3 | 285.6 | 0.2277
| 1 | 4 | 334.4 | -0.45537
| 1 | 5 | 383.2 | 0.91076
| 1 | 6 | 432 | -2.5045
| 1 | 7 | 480.8 | 1.5938
| 1 | 8 | 529.6 | 6.3752
| 1 | 9 | 578.4 | 2.96
| 1 | 10 | 627.2 | 4.6676
| 1 | 11 | 676 | 4.3261
| 1 | 12 | 724.8 | -0.11385
| 1 | 13 | 773.6 | 9.1075
| 1 | 14 | 822.4 | 0.22772
| 1 | 15 | 871.2 | 2.2769
| 1 | 16 | 920 | 3.643
| 1 | 17 | 968.8 | 4.3261
| 1 | 18 | 1017.6 | 3.643
| 1 | 19 | 1066.4 | -2.8461
| 1 | 20 | 1115.2 | 1.5938
| 1 | 21 | 1164 | 0.91075
| 1 | 22 | 1212.8 | -1.4799
| 1 | 23 | 1261.6 | -1.1384
| 1 | 24 | 1310.4 | 1.2523
| 1 | 25 | 1359.2 | -5.9199
| 1 | 26 | 1408 | -4.8953
| 1 | 27 | 1456.8 | -2.8461
| 1 | 28 | 1505.6 | -7.2859
| 1 | 29 | 1554.4 | -3.5292
| 1 | 30 | 1603.2 | 2.6184
| 1 | 31 | 1652 | 1.5938
| 1 | 32 | 1700.8 | -4.2122
| 2 | 1 | 188 | 1.8215
| 2 | 2 | 236.8 | -0.91074
| 2 | 3 | 285.6 | -8.0829
| 2 | 4 | 334.4 | -2.9599
| 2 | 5 | 383.2 | -6.3752
| 2 | 6 | 432 | 0.11386
| 2 | 7 | 480.8 | 2.163
| 2 | 8 | 529.6 | -0.22765
| 2 | 9 | 578.4 | 9.6767
| 2 | 10 | 627.2 | 9.6767
| 2 | 11 | 676 | 7.6275
| 2 | 12 | 724.8 | 4.5537
| 2 | 13 | 773.6 | 10.0182
| 2 | 14 | 822.4 | 4.8953
| 2 | 15 | 871.2 | 5.2368
| 2 | 16 | 920 | 12.7505
| 2 | 17 | 968.8 | 3.8707
| 2 | 18 | 1017.6 | -0.22767
| 2 | 19 | 1066.4 | 3.1876
| 2 | 20 | 1115.2 | 3.8707
| 2 | 21 | 1164 | 2.5045
| 2 | 22 | 1212.8 | -1.9353
| 2 | 23 | 1261.6 | 5.2368
| 2 | 24 | 1310.4 | 0.7969
| 2 | 25 | 1359.2 | 4.2122
| 2 | 26 | 1408 | -1.9353
| 2 | 27 | 1456.8 | 0.79692
| 2 | 28 | 1505.6 | 2.5045
| 2 | 29 | 1554.4 | -0.22767
| 2 | 30 | 1603.2 | -1.9353
| 2 | 31 | 1652 | 3.8707
| 2 | 32 | 1700.8 | -1.9353
| 3 | 1 | 188 | 0.45539
| 3 | 2 | 236.8 | -9.7905
| 3 | 3 | 285.6 | -13.2058
| 3 | 4 | 334.4 | -15.5965
| 3 | 5 | 383.2 | -11.8397
| 3 | 6 | 432 | -6.3752
| 3 | 7 | 480.8 | -3.643
| 3 | 8 | 529.6 | 4.8953
| 3 | 9 | 578.4 | 7.969
| 3 | 10 | 627.2 | 11.3843
| 3 | 11 | 676 | 9.3352
| 3 | 12 | 724.8 | 5.2368
| 3 | 13 | 773.6 | -2.2769
| 3 | 14 | 822.4 | -5.6921
| 3 | 15 | 871.2 | 0.79691
| 3 | 16 | 920 | 2.1631
| 3 | 17 | 968.8 | -0.91075
| 3 | 18 | 1017.6 | 5.5783
| 3 | 19 | 1066.4 | 0.79692
| 3 | 20 | 1115.2 | 1.48
| 3 | 21 | 1164 | 1.8215
| 3 | 22 | 1212.8 | 2.8461
| 3 | 23 | 1261.6 | -5.6921
| 3 | 24 | 1310.4 | -1.2523
| 3 | 25 | 1359.2 | 6.9445
| 3 | 26 | 1408 | 3.8707
| 3 | 27 | 1456.8 | 4.5538
| 3 | 28 | 1505.6 | 3.1876
| 3 | 29 | 1554.4 | 0.11386
| 3 | 30 | 1603.2 | -2.6184
| 3 | 31 | 1652 | 2.8461
| 3 | 32 | 1700.8 | -0.22771
| 4 | 1 | 188 | -10.3598
| 4 | 2 | 236.8 | -24.3625
| 4 | 3 | 285.6 | -30.8516
| 4 | 4 | 334.4 | -30.1685
| 4 | 5 | 383.2 | -28.1193
| 4 | 6 | 432 | -24.021
| 4 | 7 | 480.8 | -12.4089
| 4 | 8 | 529.6 | -10.7013
| 4 | 9 | 578.4 | -5.2368
| 4 | 10 | 627.2 | 0.91073
| 4 | 11 | 676 | -2.8461
| 4 | 12 | 724.8 | -0.79693
| 4 | 13 | 773.6 | -2.5046
| 4 | 14 | 822.4 | -4.5537
| 4 | 15 | 871.2 | 0.91074
| 4 | 16 | 920 | -1.8215
| 4 | 17 | 968.8 | -0.45538
| 4 | 18 | 1017.6 | -1.8215
| 4 | 19 | 1066.4 | 1.2523
| 4 | 20 | 1115.2 | -3.5292
| 4 | 21 | 1164 | -1.48
| 4 | 22 | 1212.8 | 1.2523
| 4 | 23 | 1261.6 | -1.1384
| 4 | 24 | 1310.4 | -3.1876
| 4 | 25 | 1359.2 | -2.163
| 4 | 26 | 1408 | 0.2277
| 4 | 27 | 1456.8 | -1.1384
| 4 | 28 | 1505.6 | 0.2277
| 4 | 29 | 1554.4 | 2.6184
| 4 | 30 | 1603.2 | -0.7969
| 4 | 31 | 1652 | 1.2523
| 4 | 32 | 1700.8 | -0.45538
| 5 | 1 | 188 | 9.5628
| 5 | 2 | 236.8 | -7.5137
| 5 | 3 | 285.6 | -11.2705
| 5 | 4 | 334.4 | -24.2486
| 5 | 5 | 383.2 | -24.5902
| 5 | 6 | 432 | -17.7596
| 5 | 7 | 480.8 | -7.5137
| 5 | 8 | 529.6 | -3.4153
| 5 | 9 | 578.4 | 6.8306
| 5 | 10 | 627.2 | 10.2459
| 5 | 11 | 676 | 7.8552
| 5 | 12 | 724.8 | 8.1967
| 5 | 13 | 773.6 | 10.5874
| 5 | 14 | 822.4 | 5.806
| 5 | 15 | 871.2 | 3.7568
| 5 | 16 | 920 | 5.4645
| 5 | 17 | 968.8 | 6.4891
| 5 | 18 | 1017.6 | 3.0738
| 5 | 19 | 1066.4 | 2.3907
| 5 | 20 | 1115.2 | 3.0738
| 5 | 21 | 1164 | 3.4153
| 5 | 22 | 1212.8 | 3.0737
| 5 | 23 | 1261.6 | 2.3907
| 5 | 24 | 1310.4 | 3.7568
| 5 | 25 | 1359.2 | -3.0738
| 5 | 26 | 1408 | -6.1475
| 5 | 27 | 1456.8 | 0.34153
| 5 | 28 | 1505.6 | 3.4153
| 5 | 29 | 1554.4 | 4.0983
| 5 | 30 | 1603.2 | 0.68305
| 5 | 31 | 1652 | 2.0345e-05
| 5 | 32 | 1700.8 | -0.68307
| 6 | 1 | 188 | 18.6703
| 6 | 2 | 236.8 | -3.5291
| 6 | 3 | 285.6 | -12.0674
| 6 | 4 | 334.4 | -24.3624
| 6 | 5 | 383.2 | -28.1193
| 6 | 6 | 432 | -18.5565
| 6 | 7 | 480.8 | -3.5291
| 6 | 8 | 529.6 | 9.449
| 6 | 9 | 578.4 | 13.8889
| 6 | 10 | 627.2 | 13.8889
| 6 | 11 | 676 | 19.3534
| 6 | 12 | 724.8 | 19.6949
| 6 | 13 | 773.6 | 14.2304
| 6 | 14 | 822.4 | 9.1075
| 6 | 15 | 871.2 | 16.9627
| 6 | 16 | 920 | 8.4244
| 6 | 17 | 968.8 | 13.5474
| 6 | 18 | 1017.6 | 7.3998
| 6 | 19 | 1066.4 | 9.1075
| 6 | 20 | 1115.2 | 11.4982
| 6 | 21 | 1164 | 7.3998
| 6 | 22 | 1212.8 | 5.0091
| 6 | 23 | 1261.6 | 1.9354
| 6 | 24 | 1310.4 | 1.2523
| 6 | 25 | 1359.2 | 6.7168
| 6 | 26 | 1408 | 3.9846
| 6 | 27 | 1456.8 | 3.643
| 6 | 28 | 1505.6 | 3.643
| 6 | 29 | 1554.4 | -1.8215
| 6 | 30 | 1603.2 | -2.163
| 6 | 31 | 1652 | 0.91076
| 6 | 32 | 1700.8 | 1.2523
| 7 | 1 | 188 | 17.8734
| 7 | 2 | 236.8 | -7.3998
| 7 | 3 | 285.6 | -24.1348
| 7 | 4 | 334.4 | -35.4053
| 7 | 5 | 383.2 | -39.5037
| 7 | 6 | 432 | -30.2823
| 7 | 7 | 480.8 | -18.3288
| 7 | 8 | 529.6 | -5.3506
| 7 | 9 | 578.4 | 8.3105
| 7 | 10 | 627.2 | 13.4335
| 7 | 11 | 676 | 15.8242
| 7 | 12 | 724.8 | 13.092
| 7 | 13 | 773.6 | 11.0428
| 7 | 14 | 822.4 | 7.6275
| 7 | 15 | 871.2 | 6.9444
| 7 | 16 | 920 | 6.6029
| 7 | 17 | 968.8 | 3.5291
| 7 | 18 | 1017.6 | 2.5045
| 7 | 19 | 1066.4 | 1.1385
| 7 | 20 | 1115.2 | 3.5291
| 7 | 21 | 1164 | 6.2614
| 7 | 22 | 1212.8 | 2.5046
| 7 | 23 | 1261.6 | 1.8215
| 7 | 24 | 1310.4 | 0.11385
| 7 | 25 | 1359.2 | -2.96
| 7 | 26 | 1408 | -1.2523
| 7 | 27 | 1456.8 | -0.56924
| 7 | 28 | 1505.6 | -2.6184
| 7 | 29 | 1554.4 | -0.91075
| 7 | 30 | 1603.2 | 1.48
| 7 | 31 | 1652 | -1.9354
| 7 | 32 | 1700.8 | 0.45538
| 8 | 1 | 188 | 19.3534
| 8 | 2 | 236.8 | -11.3843
| 8 | 3 | 285.6 | -29.827
| 8 | 4 | 334.4 | -49.2942
| 8 | 5 | 383.2 | -48.6111
| 8 | 6 | 432 | -45.8789
| 8 | 7 | 480.8 | -27.0947
| 8 | 8 | 529.6 | -9.6767
| 8 | 9 | 578.4 | -0.45539
| 8 | 10 | 627.2 | 11.1567
| 8 | 11 | 676 | 15.5965
| 8 | 12 | 724.8 | 13.2058
| 8 | 13 | 773.6 | 9.7905
| 8 | 14 | 822.4 | 11.1566
| 8 | 15 | 871.2 | 6.3752
| 8 | 16 | 920 | 5.6922
| 8 | 17 | 968.8 | 6.7168
| 8 | 18 | 1017.6 | 8.766
| 8 | 19 | 1066.4 | 4.326
| 8 | 20 | 1115.2 | 3.3014
| 8 | 21 | 1164 | 7.0583
| 8 | 22 | 1212.8 | 1.9354
| 8 | 23 | 1261.6 | 4.326
| 8 | 24 | 1310.4 | 1.9353
| 8 | 25 | 1359.2 | -0.45537
| 8 | 26 | 1408 | 4.6675
| 8 | 27 | 1456.8 | 3.3014
| 8 | 28 | 1505.6 | -0.79688
| 8 | 29 | 1554.4 | 2.2769
| 8 | 30 | 1603.2 | 3.3015
| 8 | 31 | 1652 | -2.8461
| 8 | 32 | 1700.8 | -0.45537
| 9 | 1 | 188 | 14.7997
| 9 | 2 | 236.8 | -18.6703
| 9 | 3 | 285.6 | -39.1621
| 9 | 4 | 334.4 | -60.337
| 9 | 5 | 383.2 | -65.1184
| 9 | 6 | 432 | -65.1184
| 9 | 7 | 480.8 | -40.8697
| 9 | 8 | 529.6 | -15.9381
| 9 | 9 | 578.4 | -10.1321
| 9 | 10 | 627.2 | 6.9445
| 9 | 11 | 676 | 13.7751
| 9 | 12 | 724.8 | 11.0428
| 9 | 13 | 773.6 | 8.6521
| 9 | 14 | 822.4 | 12.7505
| 9 | 15 | 871.2 | 4.2122
| 9 | 16 | 920 | 2.5046
| 9 | 17 | 968.8 | 8.6521
| 9 | 18 | 1017.6 | 7.286
| 9 | 19 | 1066.4 | 6.9444
| 9 | 20 | 1115.2 | -0.22767
| 9 | 21 | 1164 | 2.5046
| 9 | 22 | 1212.8 | 5.2368
| 9 | 23 | 1261.6 | 2.5045
| 9 | 24 | 1310.4 | 1.1384
| 9 | 25 | 1359.2 | 4.2122
| 9 | 26 | 1408 | 4.8953
| 9 | 27 | 1456.8 | 2.5046
| 9 | 28 | 1505.6 | 1.1384
| 9 | 29 | 1554.4 | 1.48
| 9 | 30 | 1603.2 | 0.11384
| 9 | 31 | 1652 | -0.91074
| 9 | 32 | 1700.8 | 0.7969
| 10 | 1 | 188 | 36.9991
| 10 | 2 | 236.8 | 4.5537
| 10 | 3 | 285.6 | -24.4763
| 10 | 4 | 334.4 | -52.8233
| 10 | 5 | 383.2 | -62.7277
| 10 | 6 | 432 | -52.4818
| 10 | 7 | 480.8 | -29.2577
| 10 | 8 | 529.6 | -9.449
| 10 | 9 | 578.4 | 5.9198
| 10 | 10 | 627.2 | 18.5565
| 10 | 11 | 676 | 20.9472
| 10 | 12 | 724.8 | 19.5811
| 10 | 13 | 773.6 | 21.2887
| 10 | 14 | 822.4 | 14.7996
| 10 | 15 | 871.2 | 16.8488
| 10 | 16 | 920 | 15.8243
| 10 | 17 | 968.8 | 10.7013
| 10 | 18 | 1017.6 | 9.3352
| 10 | 19 | 1066.4 | 9.3352
| 10 | 20 | 1115.2 | 6.6029
| 10 | 21 | 1164 | 4.8952
| 10 | 22 | 1212.8 | 7.6275
| 10 | 23 | 1261.6 | 4.5537
| 10 | 24 | 1310.4 | 2.5046
| 10 | 25 | 1359.2 | 3.1876
| 10 | 26 | 1408 | -0.22766
| 10 | 27 | 1456.8 | 0.11381
| 10 | 28 | 1505.6 | 0.11384
| 10 | 29 | 1554.4 | 0.11384
| 10 | 30 | 1603.2 | -0.2277
| 10 | 31 | 1652 | -0.56918
| 10 | 32 | 1700.8 | 0.79688
| 11 | 1 | 188 | 35.8607
| 11 | 2 | 236.8 | -4.4399
| 11 | 3 | 285.6 | -28.6885
| 11 | 4 | 334.4 | -60.7924
| 11 | 5 | 383.2 | -75.4781
| 11 | 6 | 432 | -65.9153
| 11 | 7 | 480.8 | -38.5928
| 11 | 8 | 529.6 | -10.5874
| 11 | 9 | 578.4 | 5.806
| 11 | 10 | 627.2 | 21.8579
| 11 | 11 | 676 | 25.2732
| 11 | 12 | 724.8 | 22.1995
| 11 | 13 | 773.6 | 24.2487
| 11 | 14 | 822.4 | 19.8087
| 11 | 15 | 871.2 | 16.052
| 11 | 16 | 920 | 14.6858
| 11 | 17 | 968.8 | 14.6858
| 11 | 18 | 1017.6 | 9.5629
| 11 | 19 | 1066.4 | 4.4398
| 11 | 20 | 1115.2 | 9.5628
| 11 | 21 | 1164 | 6.1475
| 11 | 22 | 1212.8 | 3.0738
| 11 | 23 | 1261.6 | 3.4153
| 11 | 24 | 1310.4 | 4.4399
| 11 | 25 | 1359.2 | 2.7323
| 11 | 26 | 1408 | 3.7568
| 11 | 27 | 1456.8 | 6.4891
| 11 | 28 | 1505.6 | 1.3661
| 11 | 29 | 1554.4 | 0.34155
| 11 | 30 | 1603.2 | 1.0246
| 11 | 31 | 1652 | 1.0246
| 11 | 32 | 1700.8 | -2.0492

## NRT Peaks
Status | NRT Nr | Recording Date/Time | N Peak Latency (µs) | N Peak Value (µV) | P Peak Latency (µs) | P Peak Value (µV) | Frame type | FIR Filter CutOff Frequency (Hz) | High Resolution Correction | N1-P1 Amplitude (µV)
| 1 | 2019-09-13 14:35 | 0 | 0 | 0 | 0 |  | Off | Off | 0
| 2 | 2019-09-13 14:35 | 0 | 0 | 0 | 0 |  | Off | Off | 0
| 3 | 2019-09-13 14:35 | 334.399 | -19.467 | 627.2 | 7.513 | ECAP | Off | Off | 26.97
| 4 | 2019-09-13 14:35 | 285.6 | -26.297 | 871.2 | 5.464 | ECAP | Off | Off | 31.76
| 5 | 2019-09-13 14:36 | 383.2 | -39.275 | 773.599 | -4.098 | ECAP | Off | Off | 35.17
| 6 | 2019-09-13 14:36 | 383.2 | -61.475 | 724.799 | -13.661 | ECAP | Off | Off | 47.81
| 7 | 2019-09-13 14:36 | 383.2 | -67.964 | 676 | -12.636 | ECAP | Off | Off | 55.32
| 8 | 2019-09-13 14:36 | 334.399 | -81.284 | 676 | -16.393 | ECAP | Off | Off | 64.89
| 9 | 2019-09-13 14:36 | 383.2 | -95.969 | 676 | -17.076 | ECAP | Off | Off | 78.89
| 10 | 2019-09-13 14:36 | 383.2 | -114.071 | 773.599 | -30.054 | ECAP | Off | Off | 84.01
| 11 | 2019-09-13 14:36 | 383.2 | -129.098 | 676 | -28.346 | ECAP | Off | Off | 100.75